## Slide 1: NSX-v Logical Load Balancer ToI
January 2019
Update with NSX-v 6.4
Check https://vault.vmware.com/group/nsx/load-balancing for latest Version

## Slide 2: Document versioning
Version NSX-v 6.4-v1.0
  Increased # of pool members per pool on XLarge Edge
  Add apprule to forward client cert information in HTTP header
Version NSX-v 6.4-v1.1
  Correction of the definition of the Cookie – App Session
Version NSX-v 6.4-v1.2
  Apprule enhancement with "tlsv11 disable"
Version NSX-v 6.4-v1.3
  Explanation on the different TCP healthchecks (full or half) based on the LB Engine
Version NSX-v 6.4-v1.4
  Add support for healthchecks DNS + LDAP + MSSQL
  Add configuration for DNS healthchecks

## Slide 3: Agenda
Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations / Best Practices
Troubleshooting
Key Takeaways
Notes: Performance

## Slide 4: Agenda
Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 5: VMware NSX – Networking & Security Capabilities
Any Application
(without modification)
Virtual Networks
VMware NSX Network Virtualization Platform
Logical L2
Any Network Hardware
Any Cloud Management Platform
Logical Firewall
Logical
Load Balancer
Logical L3
Logical
VPN
Any Hypervisor
Logical Switching– Layer 2 over Layer 3, decoupled from the physical network
Logical Routing– Routing between virtual networks without exiting the software container
Logical Firewall – Distributed Firewall, Kernel Integrated, High Performance
Logical Load Balancer – Application Load Balancing in software
Logical VPN – Site-to-Site & Remote Access VPN in software
NSX API – RESTful API for integration into any Cloud Management Platform
Partner Eco-System

## Slide 6: VMware NSX Logical Load Balancer: What is it?
Load sharing
    Load is shared accross multiple servers
Service High-Availability
  Servers / Apps down are automatically taken out of the pool
Two modes
  Proxy Mode
  Transparent Mode
VLAN or VXLAN
Web1a
Web1c
Web1b
NSX LB
(Edge)

## Slide 7: Agenda
Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 8: VMware NSX Components
Control Plane
NSX Controller
Run-time state
Decouples virtual networks form physical topology
Not in Data Path
Highly Available
Data Plane
NSX Edge
VDS
Hypervisor Extension Modules
Firewall
Distributed
Logical Router
VXLAN
NSX vSwitch
Highly Available VM form factor
Data Plane for N-S traffic
Routing and Advanced services
Intelligent network edge
Line Rate performance
Management
Plane
NSX Manager
Single point of configuration
REST API and UI interface
Highly Available
CMP
Consumption
Self Service Portal
vCAC, vCD, Openstack, Cloudstack, Custom Portals
LR Control VM
Notes: New Slides :::
Add Physical Network picture at the bottom
Add Component names
Add NSX Edge (Services VM etc.)
Color the planes – add vCAC and VCD to the consumption layer
Put basic properties of the components on the right

## Slide 9: Agenda
Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 10: Load Balancer – Proxy Mode (L4 or L7) - default
VM
VM
Logical
Networks
Edge Router or DLR
(L3)
Traffic Flow
Pros
  Simple
Cons
  Increase # of NSX Edge / VMs
  Servers don't see the client IP@
    (there is an workaround for web traffic with
    "Insert X-Forwarded-For HTTP header" – see notes)
(SNAT + DNAT)
Client-IP  VIP
Edge-IP  Server-IP
Server-IP  Edge-IP
VIP  Client-IP
2
3
Edge Router
(LB)
4
1
Notes: With the option "Insert X-Forwarded-For HTTP header" (under Application Profile), then the Edge LB adds the header "X-Forwarded-For" with the value Source-IP@.
That "X-Forwarded-For" is added whatever if the LB configuration is with source NAT (not transparent in the pool) or without source NAT (transparent in the pool).
Note:
If the client request hitting the Edge already had the "X-Forwarded-For" header with a value, the Edge LB adds the source-IP@ seen next.
For instance:
1. Client IP@ 20.20.20.20 request without "X-Forwarded-For"
The Edge LB sends the request to the server with "X-Forwarded-For: 20.20.20.20"
2. Client IP@ 20.20.20.20 request with "X-Forwarded-For: 30.30.30.30"
The Edge LB sends the request to the server with "X-Forwarded-For: 30.30.30.30, 20.20.20.20"

## Slide 11: Load Balancer – Transparent Mode (L4 or L7)
VM
VM
Logical
Networks
Edge Router
(L3 + LB)
Traffic Flow
Pros
  Simple too
  Servers do see the client IP@
Cons
  Increase load on the NSX Edge
  Server's response must go through
    the NSX Edge (usually servers dgw = Edge)
(DNAT)
(SNAT)
Client-IP  VIP
Client-IP  Server-IP
Server-IP  Client-IP
VIP  Client-IP
2
4
1
3

## Slide 12: Agenda
NSX Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 13: What Features Are Supported
 | L4-LB-Engine | L7-LB-Engine
Protocols | TCP with port range option UDP FTP | TCP HTTP HTTPS (SSL Offload + Passthrough + End-to-End) *in Notes
LB methods How end-users connections are split across back-end servers. | Round Robin Source IP hash Least Connection | Round Robin Source IP hash Least Connection URI/URL/HTTP header *in Notes
Health Checks Load Balancer checks the application health of each back-end server. | TCP/UDP/ICMP DNS / LDAP / MSSQL HTTP (GET, OPTION, POST) HTTPS (GET, OPTION, POST) Note about HA: See (1) | TCP/UDP/ICMP HTTP (GET, OPTION, POST) HTTPS (GET, OPTION, POST) Note about HA: See (1)
Persistence All connections from the same end-user go to the same back-end server. | TCP: SourceIP | TCP: SourceIP, MSRDP HTTP: SourceIP, Cookie, HTTPS: SourceIP, Cookie, ssl_session_id
1: only active does HC. Info synched to LB standby.
Notes: SSL certificates storage
Private keys are stored in plain-text on edge appliance.
They are also stored in encrypted format (trust-store) on NSX-Manager.
SSL Offload
SSL Offload with hardware assistance is available when AES-NI instruction set is available on the host CPU.
Note: This is available with all Westmere and newer CPUs from Intel and all Bulldozer and newer CPUs from AMD.
FTP
Requires:
  the VIP to be configured with Acceleration enabled
    Note: FTP load balancing is offered by L4-Eng (LVS)
  the Edge to be the FTP server default gateway (VIP must be configured in Transparent Mode)
  Note: The Edge needs to see the FTP data session (established "from FTP server port 20 to the Client IP@") to replace the server IP@ with the VIP.
Note about FTP passive mode: https://ikb.vmware.com/s/article/52088
In NSX-v 6.2.x, FTP passive mode works with pool in transparent mode, doesn't work with non-transparent mode.
In NSX-v 6.3.x and above, FTP passive mode works with pool in non-transparent mode, doesn't work with transparent mode.
See detailed configuration in the "Backup – LB Config" section.
URI/URL/HTTP HEADER load balancing
Configuration is under the pool using the option "algorithm parameters”
  URI
  LB hash based on the uri (before the question mark "?"). Two options in the "algorithm parameters”
    uriLength=<len> Note: 1<=len<256
    uriDepth=<dep> Note: 1<=dep<10
  URL
  LB hash based on the url (after the question mark "?"). One option in the "algorithm parameters”
  urlParam=<url>
  HTTPHEADER:
  LB hash based on a specific http request header. Header is specified in the "algorithm parameters”
  headerName=<name> Note: 1 <= name length < 256
More information on http://cbonte.github.io/haproxy-dconv/configuration-1.4.html#4.2-balance
LB aging/timeout time
1 mn for L4 UDP
6 hours for L4 TCP from 6.2.3
5 mns for L7 (HTTP/HTTPS)
  Note: For HTTP/HTTPS, possible to lower it with apprule "timeout client xxxs" and from 6.2.3 increase it with same apprule "timeout client xxxs"
2 Load Balancing engines
L4 engine is based on Linux Virtual Server.
L7 engine is based on HAProxy.

## Slide 14: What Features Are Supported
 | L4-LB-Engine | L7-LB-Engine
Connection throttling Limit the connections to the VIP / to the back-end servers. | No. | Client side: . Max conc. connections . Max new conn / sec Server side: . Max conc. Connections
High Availability | Yes. Note: session + persistence table synched | Yes. Note: persistence table synched
Monitoring | . View VIP/Pool/Servers objects (CLI + API) . View VIP/Pool/Servers stats (CLI + API) . Global stats VIP sessions (vCenter WebUI) | . View VIP/Pool/Servers objects (CLI + API) . View VIP/Pool/Servers stats (CLI + API) . Global stats VIP sessions (vCenter WebUI)
L7 manipulation The load balancer modifies the end-users requests and/or back-end servers responses. | No. | . HTTP/HTTPS request/response headers (For instance: URL block, url rewrite, header rewrite)

## Slide 15: All SSL Load Balancing options
External
Networks
SSL Offload:
Edge terminates Client HTTPS (SSL sessions)
Edge load balances the clients on HTTP to the servers
Note: LB AppRules HTTP can be applied.
Edge
Service
Router
https
http
SSL Passthrough:
Edge do NOT terminates Clients HTTPS (SSL sessions)
Edge load balances TCP sessions to the servers
  Note: Client SSL sessions are terminated to the servers (not the Edge).
  Note2: LB AppRules using L7-HTTP can NOT be applied. Only LB AppRules using L4 or SSL.
Edge
Service
Router
https
https
SSL End-to-End:
Edge terminates Client HTTPS (SSL sessions)
Edge load balances the clients on NEW HTTPS to the servers
Note: LB AppRules HTTP can be applied.
Edge
Service
Router
https
https

## Slide 16: NSX-v versus vCNS (1/2)
 | NSX-v | vCNS
Protocols | UDP/TCP FTP HTTP HTTPS (SSL-Passthrough) HTTPS (SSL Offload) | TCP HTTP HTTPS (SSL-Passthrough)
LB Mode | Transparent Mode Proxy Mode | Proxy Mode
LB methods How end-users connections are split across back-end servers. | Round Robin Source IP hash Least Connection URI/HTTP header/URL VC container for member pools | Round Robin Source IP hash Least Connection URI
Health Checks Load Balancer checks the application health of each back-end server. | TCP/UDP/ICMP HTTP (GET, OPTION, POST) HTTPS (GET, OPTION, POST) | TCP HTTP (GET) HTTPS (GET)
Persistence All connections from the same end-user go to the same back-end server. | TCP: SourceIP, MSRDP HTTP: SourceIP, Cookie, HTTPS: SourceIP, Cookie, ssl_session_id | HTTP: Cookie, HTTPS: ssl_session_id

## Slide 17: NSX-v versus vCNS (2/2)
 | NSX-v | vCNS
Connection throttling Limit the connections to the VIP / to the back-end servers. | Client side: . Max conc. connections . Max new conn / sec Server side: . Max conc. Connections | No
High Availability | Yes. | Yes.
Monitoring | . View VIP/Pool/Servers stats . Global stats VIP sessions | . View VIP/Pool/Servers stats . Global stats VIP sessions
L7 manipulation The load balancer modifies the end-users requests and/or back-end servers responses. | . HTTP to HTTPS redirect . HTTP/HTTPS request/response headers (For instance: URL block, url rewrite, header rewrite) | No
IPv6 | Yes | No

## Slide 18: Agenda
NSX Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 19: Configuration – Simple LB config
Deploy an ESX Edge Router
  Note: Skip that step for "Transparent Mode", as the Edge Router is already deployed. You may increase its size to X-Large for the extra load though.
  Under "Network & Security – Edge Services"
    Note: Select Appliance Size "X-Large"

## Slide 20: Configuration – Simple LB config
Enable Load Balancing
  Under "Edge – Manage / Load Balancer / Global Configuration"
    "Enable Loadbalancer": Enabled LB
    "Enable Service insertion: Enable the usage of 3rd party LB vendors still using vCenter to manage them (more information in a specific sessions)
    "Acceleration Enabled": Enable L4 Engine (for better performance)
    "Logging": Enable logging

## Slide 21: Configuration – Simple LB config
Create the IP@ of the VIP
  Under "Edge – Manage / Settings / Interfaces"

## Slide 22: Configuration – Simple LB config
Create an Application Profile
  Under "Edge – Manage / Load Balancer / Application Profiles"
    Note: Advanced options are available in the backup section at the end.

## Slide 23: Configuration – Simple LB config
(optional) Create a Service Monitoring (Health Check)
  Under "Edge – Manage / Load Balancer / Service Monitoring"
    Note: Default Health Checks exists for TCP / HTTP / HTTPS
    Note: Advanced options are available in the backup section at the end.

## Slide 24: Configuration – Simple LB config
Create a Pool
  Under "Edge – Manage / Load Balancer / Pools"
    The default is Proxy-Mode "=SNAT" (option Transparent unchecked) for Transparent Mode ="No-SNAT" (check option Transparent).
    Note: From 6.1, possibility to select vCenter objects
    (VC Container) for pool members
    Note2: Advanced options are available in the backup section.

## Slide 25: Configuration – Simple LB config
Create a Virtual Server
  Under "Edge – Manage / Load Balancer / Virtual Servers"
    Note: Advanced options are available in the backup section at the end.

## Slide 26: Agenda
Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 27: High Availability
VM / App failure
  Edge Health Checks detect "VM/App" failure
    Note: Delay varies with Health Check configuration (default 3x5secs)
  Edge stops using that VM
    Under "Edge – Manage / Load Balancer / Pools"
    Note: Obviously "VM/App" Health Check has to be configured for the Pool.
    Note: In case of VIP with persistence and a server down, the clients connected to that server get their new connections to a new server and their persistence entry is updated with that new server
    Select a pool to see pool member status below.
    From NSX-v 6.2, CLI offers deep information on why a server is down: TCP connection, http bad response code, etc (show service loadbalancer pool)

## Slide 28: High Availability
Edge failure
  Secondary Edge detects Primary Edge failure
    Note: Delay is 15 seconds
  Secondary Edge becomes Active
    Note: In CLI: "show service highavailability"
  LB traffic goes now through the Secondary Edge
    Layer4 Engine : Existing flows that were going through the Primary Edge FW and/or LB will not need to be re-established
    LB Persistence remains
  Note: Edge HA requires an internal interface. If 1-arm load balancing, define the unique interface as internal (see differences between uplink/internal here).
ESXi Host failure
  Same as Edge failure
    Note: The Secondary Edge (Passive) will run on a different ESXi host as long as DRS is enabled for the cluster. Anti-affinity rules are automatically created to keep VMs on different ESXi hosts.

## Slide 29: Agenda
NSX Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 30: Design Considerations – Scale 6.4 (1/2)
  Note: We recommend X-Large for load balancing.
All Edge sizes
L4
  Note: Details on how the tests were run in the Notes.
# of VIP (X large/Others) | # of Servers Pools (X large/Others) | # of Servers per Pool (X large/Others) | # of healthchecks (sum of L4 / HTTP / HTTPS) (X large/Others)
1024/64 | 1024/64 | 256/32 | 3072/320
 | Compact | Large | Quad large | X large
Throughput | (only for lab) | 7.5 Gbps | 9.2 Gbps | 9.2 Gbps
# conc. sessions | (only for lab) | 500k | 1M | 1M
# sessions/sec | (only for lab) | 47.9k | 88k | 88k
Notes: https://wiki.eng.vmware.com/Vshield/edge/Trinity/Loadbalancer/Performance-6.2.3
https://wiki.eng.vmware.com/Vshield/edge/Trinity/Loadbalancer/Performance-6.2.5FIPS
VIP L4 Thoughput:
  Test:
    HTTP with 100 requests per connection (256K object size)
VIP L4 CPS test:
  Test:
    HTTP with 1 request per connection (1 byte object size)
Note for the # sessions/sec test
Requires the specific tunning:
  URL : /api/4.0/edges/{edgeId}/systemcontrol/config
  PUT Method
  Input representation
  <systemControl>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_syn_sent=30</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_syn_recv=30</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_established=3600</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_close=20</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_close_wait=60</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_fin_wait=20</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_time_wait=20</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_last_ack=30</property>
  <property>sysctl.net.netfilter.nf_conntrack_udp_timeout=30</property>
  <property>sysctl.net.netfilter.nf_conntrack_udp_timeout_stream=30</property>
  <property>sysctl.net.netfilter.nf_conntrack_icmp_timeout=10</property>
  <property>sysctl.net.netfilter.nf_conntrack_generic_timeout=120</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_timeout_unacknowledged=300</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_max_retrans=3</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_be_liberal=0</property>
  <property>sysctl.net.netfilter.nf_conntrack_tcp_loose=0</property>
  <property>sysctl.net.netfilter.nf_conntrack_log_invalid=0</property>
  <property>sysctl.net.ipv4.neigh.default.gc_thresh1=256</property>
  <property>sysctl.net.ipv4.neigh.default.gc_thresh2=1024</property>
  <property>sysctl.net.ipv4.neigh.default.gc_thresh3=2048</property>
  </systemControl>
  Default (/proc/sys/net/netfilter/):
  net.ipv4.tcp_syncookies = 1 (now 0)
  net.netfilter.nf_conntrack_tcp_timeout_fin_wait = 20 (now 3 sec)
  net.netfilter.nf_conntrack_generic_timeout = 120 (now 4 sec)
  net.netfilter.nf_conntrack_tcp_timeout_time_wait = 30 (now 3 sec - in /etc.sysctl its value is actually 20, the config engine changes it to 30)
  net.netfilter.nf_conntrack_tcp_timeout_close = 10 (now 3 sec)
  net.netfilter.nf_conntrack_tcp_timeout_close_wait = 60 (now 3 sec)
  Actually not changed by the API call:
  net.netfilter.nf_conntrack_tcp_timeout_syn_sent=30
  net.netfilter.nf_conntrack_tcp_timeout_established=3600
  net.netfilter.nf_conntrack_tcp_timeout_syn_recv = 30
  net.netfilter.nf_conntrack_tcp_timeout_syn_recv = 30
  To go back to default (only available from 6.2):
  URL : /api/4.0/edges/{edgeId}/systemcontrol/config?rebootNow
  GET Method
Recommendation for heavy traffic:
Application with MANY SHORT leave connections
If you have more than 50k new connections/sec (or 8.3k new connections/sec if the connections are not correctly terminated – no FIN/RST), do the following tuning:
net.netfilter.nf_conntrack_tcp_timeout_fin_wait = 3 (default 20 sec)
net.netfilter.nf_conntrack_generic_timeout = 4 (default 120 sec)
net.netfilter.nf_conntrack_tcp_timeout_time_wait = 3 (default 30 sec)
net.netfilter.nf_conntrack_tcp_timeout_close = 3 (default 10 sec)
net.netfilter.nf_conntrack_tcp_timeout_close_wait = 3 (default 60 sec)
Those settings allow you to go up to 330k new connections/sec (or 250k new connections/sec if the sessions are not correctly terminated- no FIN/RST).
Note: If you need even more, the following tuning (increasing the # of concurrent connections) can also be combined with this one.
Application with MANY LONG leave connections
If you need more than 500k concurrent connections, do the following tuning:
net.netfilter. nf_conntrack_max = 5000000 (default 1000000)

## Slide 31: Design Considerations – Scale 6.4 (2/2)
 | Compact | Large | Quad large | X large
Throughput | (only for lab) | 4.4 Gbps | 5.1 Gbps | 8.5 Gbps
# conc. sessions | (only for lab) | 8k | 8k | 100k*
# sessions/sec | (only for lab) | 22.9k | 29.0k | 35.8k
Reqs/sec | (only for lab) | 24.9k | 39.1k | 55.9k
 | Compact | Large | Quad large | X large
Throughput | (only for lab) | (only for lab) | 1.8 Gbps | 2.2 Gbps
# conc. sessions | (only for lab) | (only for lab) | 8k | 100k
# sessions/sec | (only for lab) | (only for lab) | 556 | 576
Enabling FIPS has a 30% perf impact on HTTPS LB traffic
HTTP
    * Increased from 60k to 100k from 6.2.7 and 6.3.2
HTTPS offload (SSL 2048 bit key + TLSv1.2)
Notes: VIP L7 HTTP Throughput test:
  Test:
    HTTP with 100 requests per connection (256K object size)
VIP L7 HTTP CPS test:
  Test:
    HTTP with 1 request per connection (1 byte object size)
VIP L7 HTTP Reqs/sec test:
  Test:
    HTTP with unlimited requests per connection (1 byte object size)
VIP L7 HTTPS Throughput test:
  Test:
    HTTPS with 100 requests per connection (256K object size)
VIP L7 HTTPS CPS test:
  Test:
    HTTPS with 1 request per connection (1 byte object size)
VIP L7 HTTPS Reqs/sec test:
  Test:
    HTTPS with unlimited requests per connection (1 byte object size)
https://wiki.eng.vmware.com/Vshield/edge/Trinity/Loadbalancer/Perf
https://wiki.eng.vmware.com/Vshield/edge/Trinity/Loadbalancer/Performance-6.2.5FIPS#HTTP_-_L7_Haproxy_3

## Slide 32: Design Considerations - Limitations
Edge LB Limitations
  IPv6
  L4-engine (for higher performance) requires:
    VIP "UDP" or "TCP + Enable Acceleration"
    Note: To see if the VIP is using the L4 or L7 engine, see Notes.
 | IPv4->IPv4 | IPv6->IPv6 | IPv6->IPv4 | IPv4->IPv6
Transparent (SNAT Disabled) | L4-Eng: OK L7-Eng: OK | L4-Eng: OK L7-Eng: Not | L4-Eng: Not L7-Eng: Not | L4-Eng: Not L7-Eng: Not
Proxy (SNAT Enabled) | L4-Eng: OK L7-Eng: OK | L4-Eng: Not L7-Eng: OK | L4-Eng: Not L7-Eng: OK | L4-Eng: Not L7-Eng: OK
Notes: For a VIP using L4 Engine:
show service loadbalancer virtual <name-virtual>
<snip>
| LB PROTOCOL L4
<snip>
For a VIP using L7 Engine:
show service loadbalancer virtual <name-virtual>
<snip>
| LB PROTOCOL L7
<snip>

## Slide 33: Agenda
NSX Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 34: Troubleshooting – CLI commands
Display Configuration and statistics Info:
    # show configuration loadbalancer
    # show configuration loadbalancer virtual [virtual-server-name]
    # show configuration loadbalancer pool [pool-name]
    # show configuration loadbalancer monitor [monitor-name]
    # show configuration loadbalancer profile [profile-name]
    # show configuration loadbalancer rule [rule-name]
Display Runtime Status:
    # show service loadbalancer
    # show service loadbalancer virtual [virtual-server-name]
    # show service loadbalancer pool [pool-name]
    # show service loadbalancer monitor [monitor-name]
    show service loadbalancer table [ipv4_ip_table | ipv6_ip_table]
Notes: vShield-edge-5-1> show service loadbalancer virtual
-----------------------------------------------------------------------
Loadbalancer VirtualServer Statistics:
VIRTUAL VIP-Web-Tier-01
| ADDRESS [10.0.1.5]:443
| SESSION (cur, max, limit, total) = (0, 0, 8192, 0)
| RATE (cur, max, limit) = (0, 0, 0)
| BYTES in = (0), out = (0)
+->POOL Pool-Web-Tier-01
| LB METHOD round-robin
| LB PROTOCOL L7
| Transparent disabled
| SESSION (cur, max, limit, total) = (0, 1, 1639, 1)
| BYTES in = (162), out = (453)
+->POOL MEMBER: Pool-Web-Tier-01/web-01, STATUS: UP
| | STATUS = UP, MONITOR STATUS = test-nagios:OK
| | SESSION (cur, max, limit, total) = (0, 1, , 1)
| | BYTES in = (162), out = (453)
+->POOL MEMBER: Pool-Web-Tier-01/web-02, STATUS: UP
| | STATUS = UP, MONITOR STATUS = test-nagios:OK
| | SESSION (cur, max, limit, total) = (0, 0, , 0)
| | BYTES in = (0), out = (0)
API call:
For statistics: https://10.114.218.167/api/4.0/edges/edge-5/loadbalancer/statistics

## Slide 35: Agenda
NSX Overview
Logical Load Balancing Components
Logical Load Balancing Packet flows
What Features Are Supported
Configuration
High Availability
Design Considerations - Scale, Limitations
Troubleshooting
Key Takeaways

## Slide 36: Key Takeaways
NSX | vSphere Load Balancing is about
  A Cloud Ready solution with LB Services
    REST APIs
  Easy to manage
    Integrated into vCenter
    Single point of management
  Offering built-in LB services for most common applications
NSX | vSphere Load Balancing is NOT about
  # of features
    However we have already a rich feature set that already replies to 80+% needs
  Very high-end scale
    However our scale are very decent and reply to most customers needs

## Slide 37: Questions ?

## Slide 38: Backup
LB Configurations
LB configuration for specific applications
Log format
API calls examples
Deep Troubleshooting

## Slide 39: Backup
LB Configurations
LB configuration for specific applications
Log format
API calls examples
Deep Troubleshooting

## Slide 40: LB Configurations
L7 HTTP VIP (using L7-LB-Engine)
  Insert client IP@ in header
  with cookie persistence
  with redirect to HTTPS site
  with AppRules
    block specific URLs
    redirect specific URL/Host to specific pools
    with redirect to default page
    with redirect non authent clients
    with HTTP response header rewrite
    sorry server
    NTLM authentication server
  with IPv6 VIP / servers IPv4
L7 HTTPS VIP (using L7-LB-Engine)
  with HTTPS passthrough
  with HTTPS off-load
  with HTTPS end-to-end
  with HTTPS off-load + selection of ciphers
  with HTTPS Client Authentication
  Redirect to specific HTTPS pool based on SNI
Healthchecks
  ICMP
  UDP
  TCP
  DNS
  HTTP
  HTTPS
L4 VIP (using L4-LB-Engine)
  with no persistence
  with src-IP persistence
    Same config using L7-LB-Engine
  with SNAT (Proxy Mode)
    Same config using L7-LB-Engine
  without SNAT (Transparent Mode)
    Same config using L7-LB-Engine
  with port range
  FTP

## Slide 41: LB Configurations
L7 HTTP VIP (using L7-LB-Engine)
  Insert client IP@ in header
  with cookie persistence
  with redirect to HTTPS site
  with AppRules
    block specific URLs
    redirect specific URL/Host to specific pools
    with redirect to default page
    with redirect non authent clients
    with HTTP response header rewrite
    sorry server
    NTLM authentication server
  with IPv6 VIP / servers IPv4
L7 HTTPS VIP (using L7-LB-Engine)
  with HTTPS passthrough
  with HTTPS off-load
  with HTTPS end-to-end
  with HTTPS off-load + selection of ciphers
  with HTTPS Client Authentication
  Redirect to specific HTTPS pool based on SNI
Healthchecks
  ICMP
  UDP
  TCP
  DNS
  HTTP
  HTTPS
L4 VIP (using L4-LB-Engine)
  with no persistence
  with src-IP persistence
    Same config using L7-LB-Engine
  with SNAT (Proxy Mode)
    Same config using L7-LB-Engine
  without SNAT (Transparent Mode)
    Same config using L7-LB-Engine
  with port range
  FTP

## Slide 42: Healthchecks – Miscellaneous Tech Notes (1/2)
Health Checks are called "Service Monitoring"
  Configuration under "Edge – Manage / Load Balancer / Service Monitoring"
Service Monitors are applied to the Edge pools
IP@ used by the Edge for the health checks
  If the Edge has an IP@ in the same subnet as the server, that IP@ is used
  If the Edge does not have an IP@ in the same subnet as the server, the Edge IP@ in the subnet where is the "next-hop" to reach the server

## Slide 43: Healthchecks – Miscellaneous Tech Notes (2/2)
Time to detect a server or application failure
  If the server replies an error (e.g. server sends a "RST or sends a "404 page Not Found")
    Detection = "Max retries" x ("Interval" + "time to reply error")
    ex = "3 retries" x ("5 sec interval" + "0.1 sec time to reply error") = 15.3 seconds
  If the server doesn't reply an error (e.g. server doesn't reply at all)
    Detection = "Max retries" x ("Interval" + "Timeout")
    ex = "3 retries" x ("5 sec interval" + "15 sec timeout") = 60 seconds
Time to detect a server or application back online
  After the first correct healthcheck, the server is back in the pool.
    Note: There is no settings to configure multiple consecutive healthchecks before moving back the server to the pool.

## Slide 44: Healthchecks – ICMP
Use Case1: Test servers with ping
Configuration
  Create the Service Monitoring

## Slide 45: Healthchecks – UDP
Use Case1: Test servers with UDP
Configuration
  Create the Service Monitoring
  Technical Note:
  All those server responses will get the server in DOWN state:
    No response
    icmp not reachable
    Other response than "string_expected"

## Slide 46: Healthchecks – TCP (1/2)
Use Case1: Test servers with a 3-way TCP handshake
Configuration
  Create the Service Monitoring
      Note: A default Health Checks exist for TCP "default_tcp_monitor" with 5 sec interval + 15 sec Timeout + 3 retries
  Technical Note:
    With VIP using L4 Engine, the TCP handshake is a full handshake
    With VIP using L7 Engine, the TCP handshake is a half handshake
Notes: To validate what LB engine is used for each VIP: "show service loadbalancer virtual".
Note: VIP configuration with "Enabled Acceleration" does not guarantee usage of L4 Engine. If some settings require L7 Eng, then L7 Engine will be used.
Output example for L4 Eng:
  NSX-edge-1-1> show service loadbalancer virtual
  -----------------------------------------------------------------------
  Loadbalancer VirtualServer Statistics:
  VIRTUAL VIP-HTTP
  | ADDRESS [192.168.1.106]:80
  | SESSION (total) = (0)
  | RATE (cur) = (0)
  | BYTES in = (0), out = (0)
  +->POOL Pool-HTTP80
  | LB METHOD round-robin
  | LB PROTOCOL L4
  | Transparent enabled
  | SESSION (cur, cps, total) = (0, 0, 0)
Output example for L7 Eng:
  NSX-edge-1-1> show service loadbalancer virtual
  -----------------------------------------------------------------------
  Loadbalancer VirtualServer Statistics:
  VIRTUAL VIP-HTTP
  | ADDRESS [192.168.1.106]:80
  | SESSION (cur, max, total) = (0, 0, 0)
  | RATE (cur, max, limit) = (0, 0, 0)
  | BYTES in = (0), out = (0)
  +->POOL Pool-HTTP80
  | LB METHOD round-robin
  | LB PROTOCOL L7
  | Transparent enabled
  | SESSION (cur, max, total) = (0, 0, 0)
  | BYTES in = (0), out = (0)

## Slide 47: Healthchecks – TCP (2/2)
Use Case2: Test application on non web servers
  Note: Edge offers the ability to send a payload at the end of the TCP handshake and check a specific response in the servers response payload
Configuration
  Create the Service Monitoring
      Note: In the example on the side, the Edge checks
      the server replies just after the handshake with a
      payload containing "SSH-2.0"
Technical Note:
If you want the Edge to send special characters, like "space" or "forward slash" or "backward slash", use:
  For "space", use double quotes
  For "forward slash" or "backward slash", double them
  Example, if you want to send "HELO blah\r\n", the Send option to configure is "HELO blah\\r\\n" (with the "" included)

## Slide 48: Healthchecks – DNS
Use Case1: Test DNS servers with a DNS request
Configuration
  Create the Service Monitoring
  Note: DNS healthcheck is using TCP
  Technical Note:
    Type: Select DNS
    Send: Specify a DNS A request you want the LB to do
    Receive (optional): Specify the expected DNS response (IP@)

## Slide 49: Healthchecks – HTTP (1/4)
Use Case1: Test a specific "test-page.asp" page on the http servers
Configuration
  Create the Service Monitoring
Technical Note:
When no "Expected" http response code is configured, the following server response code are considered OK: "2xx" + "3xx"

## Slide 50: Healthchecks – HTTP (2/4)
Use Case2: Test a specific "test-page.asp" page on the http servers and validate the response page contains "OK"
Configuration
  Create the Service Monitoring

## Slide 51: Healthchecks – HTTP (3/4)
Use Case3: Test a specific "test-page.asp" page on the http servers and validate the response page contains "OK1" or "OK2"
Configuration
  Create the Service Monitoring with the extension: eregi="(OK1|OK2)"
  Note: All the healthchecks options are detailed in the NSX Admin Guide

## Slide 52: Healthchecks – HTTP (4/4)
Use Case4: Test a specific "test-page.asp" page with the host "app1.xyz.com" on the http servers
Configuration
  Create the Service Monitoring with the extension: header="Host: app1.xyz.com"
  Note: All the healthchecks options are detailed in the NSX Admin Guide

## Slide 53: Healthchecks – HTTPS (1/2)
Use Case1: Test a specific "test-page.asp" page on the https servers
Configuration
  Create the Service Monitoring
Technical Note:
When no "Expected" http response code is configured, the following server response code are considered OK: "2xx" + "3xx"

## Slide 54: Healthchecks – HTTPS (2/2)
Use Case2: Test a specific "test-page.asp" page on the http servers and validate the response page contains "OK"
Configuration
  Create the Service Monitoring

## Slide 55: LB Configurations
L7 HTTP VIP (using L7-LB-Engine)
  Insert client IP@ in header
  with cookie persistence
  with redirect to HTTPS site
  with AppRules
    block specific URLs
    redirect specific URL/Host to specific pools
    with redirect to default page
    with redirect non authent clients
    with HTTP response header rewrite
    sorry server
    NTLM authentication server
  with IPv6 VIP / servers IPv4
L7 HTTPS VIP (using L7-LB-Engine)
  with HTTPS passthrough
  with HTTPS off-load
  with HTTPS end-to-end
  with HTTPS off-load + selection of ciphers
  with HTTPS Client Authentication
  Redirect to specific HTTPS pool based on SNI
Healthchecks
  ICMP
  UDP
  TCP
  DNS
  HTTP
  HTTPS
L4 VIP (using L4-LB-Engine)
  with no persistence
  with src-IP persistence
    Same config using L7-LB-Engine
  with SNAT (Proxy Mode)
    Same config using L7-LB-Engine
  without SNAT (Transparent Mode)
    Same config using L7-LB-Engine
  with port range
  FTP

## Slide 56: L4 VIP – Miscellaneous Tech Notes
The Edge offers 2 load balancer engines:
  L4-Eng
  L7-Eng
  Note: See the Notes to validate what LB engine is used for each VIP
The L4-Eng can be used to load balance any UDP/TCP application such as DNS, LDAP, IMAP, FTP, or even HTTP/HTTPS
L4 VIP is processed before the Edge Firewall
  Edge Firewall (under "Edge – Manage / Firewall") can not block access to L4 VIP
  However Firewall must be enabled in case of L4 with SNAT (non transparent mode)
Notes: To validate what LB engine is used for each VIP: "show service loadbalancer virtual".
Note: VIP configuration with "Enabled Acceleration" does not guarantee usage of L4 Engine. If some settings require L7 Eng, then L7 Engine will be used.
Output example for L4 Eng:
  NSX-edge-1-1> show service loadbalancer virtual
  -----------------------------------------------------------------------
  Loadbalancer VirtualServer Statistics:
  VIRTUAL VIP-HTTP
  | ADDRESS [192.168.1.106]:80
  | SESSION (total) = (0)
  | RATE (cur) = (0)
  | BYTES in = (0), out = (0)
  +->POOL Pool-HTTP80
  | LB METHOD round-robin
  | LB PROTOCOL L4
  | Transparent enabled
  | SESSION (cur, cps, total) = (0, 0, 0)
Output example for L7 Eng:
  NSX-edge-1-1> show service loadbalancer virtual
  -----------------------------------------------------------------------
  Loadbalancer VirtualServer Statistics:
  VIRTUAL VIP-HTTP
  | ADDRESS [192.168.1.106]:80
  | SESSION (cur, max, total) = (0, 0, 0)
  | RATE (cur, max, limit) = (0, 0, 0)
  | BYTES in = (0), out = (0)
  +->POOL Pool-HTTP80
  | LB METHOD round-robin
  | LB PROTOCOL L7
  | Transparent enabled
  | SESSION (cur, max, total) = (0, 0, 0)
  | BYTES in = (0), out = (0)

## Slide 57: L4 VIP - with no persistence (1/3)
Use Case: Load Balance a TCP application (with L4-Engine)
Configuration
  Create the TCP Application Profile
    Under "Edge – Manage / Load Balancer / Application Profiles"
  Create the Pool
    Under "Edge – Manage / Load Balancer / Pools"

## Slide 58: L4 VIP - with no persistence (2/3)
Use Case: Load Balance a TCP application (with L4-Engine) – cont.
Configuration
  Create the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
      Note: In the example, HTTP servers are load balanced
      with the L4-Eng.
Technical Note:
To use the L4-Eng, the option "Enable Acceleration" must be ticked under the VIP
Also the overall Global Configuration option "Acceleration Enabled" must be enabled

## Slide 59: L4 VIP - with no persistence (3/3)
Use Case: Load Balance a TCP application (with L4-Engine) – cont.
Validation
  Validate the L4-Eng is used
    Only from CLI on the Edge
      vShield-edge-2-0> show service loadbalancer virtual VIP-L4
      -----------------------------------------------------------------------
      Loadbalancer VirtualServer Statistics:
      VIRTUAL VIP-L4
      | ADDRESS [192.168.11.40]:80
      | SESSION (total, active, inactive) = (0, 0, 0)
      | RATE (cur) = (0)
      | BYTES in = (0), out = (0)
      +->POOL Pool-HTTP
      | LB METHOD round-robin
      | LB PROTOCOL L4
      | Transparent disabled
      | SESSION (total, active, inactive) = (0, 0, 0)

## Slide 60: L4 VIP - with src-IP persistence (1/3)
Use Case: Load Balance a TCP application (with L4-Engine) with src-IP persistence
Configuration
  Create the TCP Application Profile
    Under "Edge – Manage / Load Balancer / Application Profiles"
      Note: Persistence aging time (Expires) was 5mns by default on NSX 6.0.
      Note2: From NSX 6.1, the aging time is configurable (screenshot from NSX 6.1) from 1sec to 86400 (1 day).
Notes: vShield-edge-3-0> show service loadbalancer table ipv4_ip_table_Pool-01
-----------------------------------------------------------------------
L7 Loadbalancer Sticky Table [ipv4_ip_table_Pool-01] Status:
# table: ipv4_ip_table_Pool-01, type: ip, size:1048576, used:1
0x21e5c6a9f48: key=20.20.20.199 use=0 exp=289381 server_id=1 conn_cnt=0 conn_rate(60000)=0 conn_cur=0 sess_cnt=0 sess_rate(60000)=0 http_req_cnt=0 http_req_rate(60000)=0

## Slide 61: L4 VIP - with src-IP persistence (2/3)
Use Case: Load Balance a TCP application (with L4-Engine) with src-IP persistence – cont.
  Create the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
      Note: In the example, HTTP servers are load balanced
      with the L4-Eng.
Technical Note:
To use the L4-Eng, the option "Enable Acceleration" must be ticked under the VIP
Also the overall Global Configuration option "Acceleration Enabled" must be enabled

## Slide 62: L4 VIP - with src-IP persistence (3/3)
Use Case: Load Balance a TCP application (with L4-Engine) with src-IP persistence – cont.
  Validate the L4-Eng is used
    Only from CLI on the Edge
      vShield-edge-2-0> show service loadbalancer virtual VIP-L4
      -----------------------------------------------------------------------
      Loadbalancer VirtualServer Statistics:
      VIRTUAL VIP-L4
      | ADDRESS [192.168.11.40]:80
      | SESSION (total, active, inactive) = (0, 0, 0)
      | RATE (cur) = (0)
      | BYTES in = (0), out = (0)
      +->POOL HTTP-Web
      | LB METHOD round-robin
      | LB PROTOCOL L4
      | Transparent disabled
      | SESSION (total, active, inactive) = (0, 0, 0)

## Slide 63: L4 VIP - with SNAT (Proxy Mode)
Use Case: Load Balance a TCP application with SNAT (Proxy Mode) – see slide "Load Balancer – Proxy Mode (L4 or L7) – default"
Configuration
  Create a Pool
    Under "Edge – Manage / Load Balancer / Pools"
    Note: L4 Engine requires Firewalling enabled on the Edge for SNAT.
Notes: Note:
• L4 Engine (LVS):
The same SNAT IP:port (let say Edge 10.10.10.10:5000) can be used to talk to backend Server1 and backend Server2.
So concurrent connections scale is not an issue even with LB SNAT.
  For instance:
  Client1 (50.50.50.50:5000) => VIP1:80 (20.20.20.20:80) is translated LB-SNAT (10.1.1.6:10000) => Server1:80 (10.1.1.11:80)
  And
  Client2 (60.60.60.60:6000) => VIP1:80 (20.20.20.20:80) is translated LB-SNAT (10.1.1.6:10000) => Server2 80 (10.1.1.12:80)
• L7 Engine (haproxy):
The same SNAT IP:port (let say Edge 10.10.10.10:5000) can NOT be used to talk to backend Server1 and backend Server2.
HOWEVER our scale for L7 Eng has been for a long time 60k => # of SNAT ports (65k) is not an issue.
Since 6.2.7 and 6.3.2 our L7 Eng scale is 100k. That’s still NOT an issue since the # of sessions on the client side is usually much higher than the # of sessions on the server side. Indeed we have (by default) “connection close” after each http/s request on the server side => # of connections on servers side is always low.
  For instance:
  Client1 (50.50.50.50:5000) => VIP1:80 (20.20.20.20:80) is translated LB-SNAT (10.1.1.6:10000) => Server1:80 (10.1.1.11:80)
  And then as soon as the server replies to the http request, the TCP session is closed on the server side. The session remains open on the client side.
  So that port 10000 is available is available for another client:
  Client2 (60.60.60.60:6000) => VIP1:80 (20.20.20.20:80) is translated LB-SNAT (10.1.1.6:10000) => Server2 80 (10.1.1.12:80)
  And then again as soon as the server replies to the http request, the TCP session is closed on the server side. The session remains open on the client side.
  Etc.

## Slide 64: L4 VIP - without SNAT (Transparent Mode)
Use Case: Load Balance a TCP application with SNAT (Proxy Mode) – see slide "Load Balancer – Transparent Mode (L4 or L7)"
Configuration
  Create a Pool
    Under "Edge – Manage / Load Balancer / Pools"

## Slide 65: L4 VIP – with port range
Use Case: Load Balance an application listening on multiple port ranges
Configuration
  Create a Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"

## Slide 66: L4 VIP – FTP (1/2)
Use Case: Load Balance FTP
Configuration
  Create the TCP Application Profile
    Under "Edge – Manage / Load Balancer / Application Profiles"
  Create the Pool
    Under "Edge – Manage / Load Balancer /
      Pools" with Non-Transparent option
      (no SNAT)
      Note: Look at the notes about Transparent mode,
      as its required configuration varies for
      passive FTP depending on NSX-v release.
Notes: Limitations for FTP load balancing
FTP port must be 21 (FTP load balancing do not work on other ports)
  FTP protocol requires an ALG (to map the control session and the data session) and the FTP ALG on the Edge looks at the port 21 only (with no possibility to configure other ports).
Note about FTP passive mode: https://ikb.vmware.com/s/article/52088
In NSX-v 6.2.x, FTP passive mode works with pool in transparent mode, doesn't work with non-transparent mode.
In NSX-v 6.3.x and above, FTP passive mode works with pool in non-transparent mode, doesn't work with transparent mode.

## Slide 67: L4 VIP – FTP (2/2)
Use Case: Load Balance FTP – cont.
Configuration
  Create the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
Technical Note:
To use the L4-Eng, the option "Enable Acceleration" must be ticked under the VIP
Also the overall Global Configuration option "Acceleration Enabled" must be enabled
See notes for some limitations

## Slide 68: LB Configurations
L7 HTTP VIP (using L7-LB-Engine)
  Insert client IP@ in header
  with cookie persistence
  with redirect to HTTPS site
  with AppRules
    block specific URLs
    redirect specific URL/Host to specific pools
    with redirect to default page
    with redirect non authent clients
    with HTTP response header rewrite
    sorry server
    NTLM authentication server
  with IPv6 VIP / servers IPv4
L7 HTTPS VIP (using L7-LB-Engine)
  with HTTPS passthrough
  with HTTPS off-load
  with HTTPS end-to-end
  with HTTPS off-load + selection of ciphers
  with HTTPS Client Authentication
  Redirect to specific HTTPS pool based on SNI
Healthchecks
  ICMP
  UDP
  TCP
  DNS
  HTTP
  HTTPS
L4 VIP (using L4-LB-Engine)
  with no persistence
  with src-IP persistence
    Same config using L7-LB-Engine
  with SNAT (Proxy Mode)
    Same config using L7-LB-Engine
  without SNAT (Transparent Mode)
    Same config using L7-LB-Engine
  with port range
  FTP

## Slide 69: L7 HTTP VIP – Miscellaneous Tech Notes
The Edge offers 2 load balancer engines:
  L4-Eng
  L7-Eng
  Note: See the Notes to validate what LB engine is used for each VIP
The L7 HTTP VIP is used to load balance any web HTTP application
  Note: An non-web application running on TCP port 80 can NOT be load balanced by an L7 HTTP VIP. (L4 TCP VIP has to be used).
L7 HTTP VIP is processed after the Edge Firewall
  An Edge Firewall rule (under "Edge – Manage / Firewall") must exist to allow access to the L7 HTTP VIP.
Application Rules are using HAProxy frontend rules
  You can find the list of HAProxy frontend rules here
Notes: To validate what LB engine is used for each VIP: "show service loadbalancer virtual".
Note: VIP configuration with "Enabled Acceleration" does not guarantee usage of L4 Engine. If some settings require L7 Eng, then L7 Engine will be used.
Output example for L4 Eng:
  NSX-edge-1-1> show service loadbalancer virtual
  -----------------------------------------------------------------------
  Loadbalancer VirtualServer Statistics:
  VIRTUAL VIP-HTTP
  | ADDRESS [192.168.1.106]:80
  | SESSION (total) = (0)
  | RATE (cur) = (0)
  | BYTES in = (0), out = (0)
  +->POOL Pool-HTTP80
  | LB METHOD round-robin
  | LB PROTOCOL L4
  | Transparent enabled
  | SESSION (cur, cps, total) = (0, 0, 0)
Output example for L7 Eng:
  NSX-edge-1-1> show service loadbalancer virtual
  -----------------------------------------------------------------------
  Loadbalancer VirtualServer Statistics:
  VIRTUAL VIP-HTTP
  | ADDRESS [192.168.1.106]:80
  | SESSION (cur, max, total) = (0, 0, 0)
  | RATE (cur, max, limit) = (0, 0, 0)
  | BYTES in = (0), out = (0)
  +->POOL Pool-HTTP80
  | LB METHOD round-robin
  | LB PROTOCOL L7
  | Transparent enabled
  | SESSION (cur, max, total) = (0, 0, 0)
  | BYTES in = (0), out = (0)

## Slide 70: L7 HTTP VIP - Insert client IP@ in header X-Forwarded-For (1/2)
Use case:
  The Edge LB is configured in Proxy Mode (Source NAT) and the servers need the client IP@ information
Configuration
  Update the Application Profile
    Under "Edge – Manage / Load Balancer / Applications Profiles"
      Select the option "Insert X-Forwarded-For HTTP header"
    Once configured and Application Profile applied on a Virtual Server, the server will see the client IP@ information in the header "X-Forwarded-For"

## Slide 71: L7 HTTP VIP - Insert client IP@ in header X-Forwarded-For (2/2)
Validation:
  This is a capture taken on the server side where you can see:
    The Sce-IP@ = Edge IP@: 192.168.11.41
    The server IP@: 192.168.11.3
    The real client-IP@ in the X-Forwarded-For header: 10.0.1.12
    Important Note:
    The web servers have to be configured to look at the client IP@ information in that "X-Forwarded-For" header instead of the source-IP@ client.

## Slide 72: L7 HTTP VIP - with cookie persistence
Use Case: Load Balance an http application with cookie persistence
  Create the HTTP Application Profile
    Under "Edge – Manage / Load Balancer / Application Profiles"
  Create the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
      Note: The cookie provided by the Edge is a session cookie (always replayed by browser as long as browser not closed).
      The cookie value = "pool member" + "time" (encoded)
      If the non-closed browser doesn't do any request for 300 seconds (default expire time), its next request will still play the NSX cookie but NSX will re-balance the request to another server.
      Note2: In older NSX-v releases, the Expiration time can be modified only via API (not UI). See Notes
Technical Note:
Persistence cookie modes are detailed in the Notes
Notes: Different mode of cookie persistence:
Insert
The Edge will send a session cookie.
Note: A session cookie is played by the browser as long as the browser is not closed (but not stored in the computer disk, as persistent cookies are).
If the server already sends 1 or more cookies, then the client will receive 1 extra cookie (the server cookie(s) + the Edge cookie)If the server doesn't send any cookie, then the client will receive 1 cookie (the Edge cookie)
Prefix
This option is selected if your client doesn't support more than 1 cookie.
Note: All browsers accepts many cookies. But you may have a "proprietary application using a proprietary client" that supports only 1 cookie.
The web servers sends its cookie as usual.
The Edge will inject (prefix) its cookie information in the server cookie value. (obviously this cookie added info is stripped out when the Edge sends it to the server).
App Session
The application does not support a new cookie added by the VIP (insert), nor modified a modified cookie (prefix).
With this mode (App Session) the VIP learns the cookie injected by the server and will remember when client present that cookie, it has to forward that client request to that same server.
Note: Currently it's not possible to see the App Session persistence table for troubleshooting.
Change default 300 seconds Expiration Time on HTTP Cookie Insert in NSX-v 6.2:
PUT https://<NSX-Mgr>/api/4.0/edges/<edge-id>/loadbalancer/config/applicationprofiles/<application-id>
<applicationProfile>
<applicationProfileId>applicationProfile-3</applicationProfileId>
<persistence>
<method>cookie</method>
<cookieName>NSX</cookieName>
<cookieMode>insert</cookieMode>
<expire>999</expire>
</persistence>
<name>cookie1</name>
<insertXForwardedFor>false</insertXForwardedFor>
<sslPassthrough>false</sslPassthrough>
<template>HTTP</template>
<serverSslEnabled>false</serverSslEnabled>
</applicationProfile>
Value of the cookie
  #!/usr/bin/perl
  use strict;
  use warnings;
  use Digest::MD5 qw(md5_base64);
  print "input string to hash:";
  chomp(my $input = <>);
  print md5_base64($input);
  print "\n";
  root@sin2-pek-net-dhcp240:~/perforce/vshield-main/vse/Plugins/configurators/haproxy# ./md5_base64.pl
  input string to hash:Web01
  iYaEeSJdMW8/Tt4WQcNddQ

## Slide 73: L7 HTTP VIP - with redirect to HTTPS site (1/2)
Use Case1: Redirect the clients coming on HTTP to HTTPS default page
  Create an Application Profile
    Under "Edge – Manage / Load Balancer / Applications Profile"
  Apply that Application Profile to the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
Technical Note:
You most likely want to use the DNS name instead of the IP@ in the "HTTP Redirect URL"
Technical Note:
No need to specify a "Default Pool" since all requests will be redirected to the HTTPS VIP

## Slide 74: L7 HTTP VIP - with redirect to HTTPS site (2/2)
Use Case2: Redirect the clients coming on HTTP to same page on HTTPS
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # Redirect all HTTP requests to same URI but HTTPS
      redirect scheme https if !{ ssl_fc }
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer /
      Virtual Servers"
Notes: Other option:
Rewrite the HTTP redirect sent by the server to HTTPS
  rspirep ^Location:\ http://(.*) Location:\ https://\1
Other example:
Redirect to other port:
  # this redirect any client request URL to the same URL but port 30200
  redirect prefix http://20.20.20.26:30200

## Slide 75: L7 HTTP VIP - with block specific URLs
Use Case: Block requests starting with "/private" or "/finance"
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # Check if the request starts with "/private" or "/finance" (case insensitive)
      acl block_url_list path_beg -i /private /finance
      # If the request is part of the list of forbidden url, reply "Forbidden" (HTTP response code 403)
      block if block_url_list
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer /
      Virtual Servers"
Notes: Similar need: White list access only
  # whitelist of IP
  acl whitelist src 10.10.10.0/24 20.20.20.0/24
  # Reset connection if client IP@ not in the whitelist (RST sent after the 3-way hand-shake)
  # So AppRule works also for non-Web app
  tcp-request connection reject if !whitelist

## Slide 76: L7 HTTP VIP - redirect specific URL/Host to specific pools (1/3)
Use Case1: Redirect requests starting with "/private" or "/finance" to specific pools
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # Check if the request starts with "/private" (case insensitive)
      acl site_private path_beg -i /private
      # Check if the request starts with "/finance" (case insensitive)
      acl site_finance path_beg -i /finance
      # If the request starts with "private" use the pool_private and starts with "finance" use the pool_finance
      use_backend pool_private if site_private
      use_backend pool_finance if site_finance
      #for everything else, use the pool defined in the Virtual Server
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"

## Slide 77: L7 HTTP VIP - redirect specific URL/Host to specific pools (2/3)
Use Case2: Redirect requests based on query string "?server=private" or "?server=finance" to specific pools
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # Check if query string in URL is with "?server=private"
      acl site_private url_param(server) private
      # Check if query string in URL is with "?server=finance"
      acl site_finance url_param(server) finance
      # If the query string in URL is with "private" use the pool_private and with "finance" use the pool_finance
      use_backend pool_private if site_private
      use_backend pool_finance if site_finance
      #for everything else, use the pool defined in the Virtual Server
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"

## Slide 78: L7 HTTP VIP - redirect specific URL/Host to specific pools (3/3)
Use Case3: Redirect requests for specific Host to specific pools
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # Check if host is "app1.xyz.com" (case insensitive)
      acl host_app1 hdr(Host) -i app1.xyz.com
      # Check if host is "app2.xyz.com" (case insensitive)
      acl host_app2 hdr(Host) -i app2.xyz.com
      # Check if host is "app3*" (case insensitive)
      acl host_any_app3 hdr_beg(host) -i app3
      # Use specific pool for each hostname
      use_backend pool_app1 if host_app1
      use_backend pool_app2 if host_app2
      use_backend pool_app3 if host_any_app3
      #for everything else, use the pool defined in the Virtual Server
      Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
Notes: #Some other random examples of AppRules
# Some ACLs to check URL from Client request
acl url_a path_beg -i /a
acl url_t path_beg -i /t
acl url_test_nopersist path -i /test_nopersist.php
# Some ACLs to Cookie from Client request
acl cookie_dimi1 hdr_sub(cookie) dimi1=1
acl cookie_sitet hdr_sub(cookie) cookie_sitet
# Select special LB_pool based on ACL
use_backend pool_vipa if url_a
use_backend pool_vipt if url_t
use_backend pool_cookie1 if cookie_dimi1
# Select special LB_pool based on multiple ACLs
use_backend pool_multiple if url_t cookie_dimi1
# Inject a new Cookie based on ACL
rspadd Set-Cookie:\ inject1=1 if url_t
# Delete specific cookie based on ACL
reqidel ^Cookie:.*cookie_sitet= if url_test_nopersist
# Rewrite GET without "/app1"
acl app1 path_beg -i /app1
reqirep ^GET\ /app1/(.*)\ HTTP/(.*) GET\ /\1\ HTTP/\2 if app1

## Slide 79: L7 HTTP VIP - redirect to default page
Use Case: Redirect the client requests "/" to "login.html"
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # Check the HTTP request if request is "/"
      acl default_url url /
      # If that request is "/", redirect to that specific page
      redirect prefix /login.php if default_url
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer /
      Virtual Servers"

## Slide 80: L7 HTTP VIP - redirect non authent clients
Use Case: Redirect the client requests to "/authent.php" if they don't have a cookie
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # Check the HTTP request if request is "/authent.php"
      acl authent_url url /authent.php
      # Check the Cookie "cookie1" is present
      acl cookie_present hdr_sub(cookie) cookie1=
      # if the request is NOT "/authent.php" and there is no cookie, then redirect to "/authent.php"
      redirect prefix /authent.php if !authent_url !cookie_present
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"

## Slide 81: L7 HTTP VIP - HTTP response header rewrite
Use Case: Replace the Response server header "Server" with the value "nginx"
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # Delete the existing Response Server header "Server"
      rspidel Server
      # Add the Response Server header "Server" with the value "nginx"
      rspadd Server:\ nginx
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer /
      Virtual Servers"

## Slide 82: L7 HTTP VIP – sorry server
Use Case: In case of servers in the primary pool are all dead, use servers in the secondary pool
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # detect if pool "pool_production" is still UP
      acl pool_production_down nbsrv(pool_production) eq 0
      # use pool "pool_sorry_server" if "pool_production" is dead
      use_backend pool_sorry_server if pool_production_down
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
  Other examples with http redirect and url rewrite available in the notes
Notes: Other Option1: Redirect EVERYTHING to maintenance site
redirect location http://maintenance.xyz.com/maintenance.htm
Other Option2: Use a specific maintenance server pool + rewrite all URL to /maintenance.php
# Match everything
acl match_all always_true
use_backend maint_pool if match_all
# Rewrite all url with "/maintenance.html"
reqirep ^GET\ (.*)\ HTTP/(.*) GET\ /maintenance.php\ HTTP/\2
Selection of a specific server (not possible on NSX-v today)
use-server Web01 if { srv_is_up(NSXLBAutoScale-Pool/Web01) eq 1 }
use-server Web02 if { srv_is_up(NSXLBAutoScale-Pool/Web02) eq 1 }
use-server Web03 if { srv_is_up(NSXLBAutoScale-Pool/Web03) eq 1 }

## Slide 83: L7 HTTP VIP – NTLM authentication server (usually with Sharepoint, Exchange, etc)
Use Case: In case of servers doing NTLM authentication
  Create an Application Rule
    Under "Edge – Manage / Load Balancer / Applications Rules"
      # By default on the client side NSX keeps the TCP connection established between requests. However with option "X-Forwarded-For", the session is closed after each request (up to NSX-v 6.2).
      # The following option keeps the client connection open between requests even if XFF is configured (no need after NSX-v 6.2)
      no option httpclose
      # By default on the server side NSX closes the TCP connection after each request to off-load server TCP stack
      # The following option keeps the server connection open between requests
      no option http-server-close
  Apply that Application Rule to the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"

## Slide 84: L7 HTTP VIP - with IPv6 VIP / servers IPv4 (1/2)
Use Case: IPv6 clients access an IPv6 VIP load balancing IPv4 servers
  Create an Application Profile
    Under "Edge – Manage / Load Balancer / Applications Profiles"
  Create an IPv4 Pool
    Under "Edge – Manage /
      Load Balancer / Pools"

## Slide 85: L7 HTTP VIP - with IPv6 VIP / servers IPv4 (2/2)
Use Case: IPv6 clients access an IPv6 VIP load balancing IPv4 servers – cont.
  Create Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
  Validation: Access the VIP from a browser: http://[2192::168::11:40]

## Slide 86: LB Configurations
L7 HTTP VIP (using L7-LB-Engine)
  Insert client IP@ in header
  with cookie persistence
  with redirect to HTTPS site
  with AppRules
    block specific URLs
    redirect specific URL/Host to specific pools
    with redirect to default page
    with redirect non authent clients
    with HTTP response header rewrite
    sorry server
    NTLM authentication server
  with IPv6 VIP / servers IPv4
L7 HTTPS VIP (using L7-LB-Engine)
  with HTTPS passthrough
  with HTTPS off-load
  with HTTPS end-to-end
  with HTTPS off-load + selection of ciphers
  with HTTPS Client Authentication
  Redirect to specific HTTPS pool based on SNI
Healthchecks
  ICMP
  UDP
  TCP
  DNS
  HTTP
  HTTPS
L4 VIP (using L4-LB-Engine)
  with no persistence
  with src-IP persistence
    Same config using L7-LB-Engine
  with SNAT (Proxy Mode)
    Same config using L7-LB-Engine
  without SNAT (Transparent Mode)
    Same config using L7-LB-Engine
  with port range
  FTP

## Slide 87: L7 HTTPS VIP – Miscellaneous Tech Notes
The Edge offers 2 load balancer engines:
  L4-Eng
  L7-Eng
The L7 HTTPS VIP is used to load balance any web HTTPS application
  Note: An non-web application running on TCP port 443 can NOT be load balanced by an L7 HTTPS VIP. (L4 TCP VIP has to be used).
L7 HTTPS VIP is processed after the Edge Firewall
  An Edge Firewall rule (under "Edge – Manage / Firewall") must exist to allow access to the L7 HTTPS VIP.

## Slide 88: L7 HTTPS VIP - with HTTPS passthrough (1/2)
Use Case: Clients access the web application via HTTPS. HTTPS sessions are forwarded to servers (not terminated) by the Edge.
  Create the HTTPS Application Profile
    Under "Edge – Manage / Load Balancer / Application Profiles"

## Slide 89: L7 HTTPS VIP - with HTTPS passthrough (2/2)
Use Case: Clients access the web application via HTTPS. HTTPS sessions are forwarded to servers (not terminated) by the Edge.
  Create the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
Technical Note:
The pool selected is composed of HTTPS servers

## Slide 90: L7 HTTPS VIP - with HTTPS off-load (1/3)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP. The Edge forwards the clients' requests via HTTP
  Import the web server certificate
    Under "Edge – Manage / Settings / Certificates" – add Certificate
      An example of certificate and private key in the notes below.
      Note: Copy the cert + key with the "-----BEGIN xxx-----" and "-----END xxx-----" included.
      Note2: In case of chain certificate (certificate with the intermediate/root CA), the certificate content is the
        -----BEGIN CERTIFICATE-----
        Server cert
        -----END CERTIFICATE-----
        -----BEGIN CERTIFICATE-----
        Intermediate cert
        -----END CERTIFICATE-----
        -----BEGIN CERTIFICATE-----
        Root cert
        -----END CERTIFICATE-----
Notes: Web server certificate:
Certificate
  -----BEGIN CERTIFICATE-----
  MIID0DCCArigAwIBAgIBATANBgkqhkiG9w0BAQUFADB/MQswCQYDVQQGEwJGUjET
  MBEGA1UECAwKU29tZS1TdGF0ZTEOMAwGA1UEBwwFUGFyaXMxDTALBgNVBAoMBERp
  bWkxDTALBgNVBAsMBE5TQlUxEDAOBgNVBAMMB0RpbWkgQ0ExGzAZBgkqhkiG9w0B
  CQEWDGRpbWlAZGltaS5mcjAeFw0xNDAxMjgyMDM2NTVaFw0yNDAxMjYyMDM2NTVa
  MFsxCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQKDBhJ
  bnRlcm5ldCBXaWRnaXRzIFB0eSBMdGQxFDASBgNVBAMMC3d3dy5kaW1pLmZyMIIB
  IjANBgkqhkiG9w0BAQEFAAOCAQ8AMIIBCgKCAQEAvpnaPKLIKdvx98KW68lz8pGa
  RRcYersNGqPjpifMVjjE8LuCoXgPU0HePnNTUjpShBnynKCvrtWhN+haKbSp+QWX
  SxiTrW99HBfAl1MDQyWcukoEb9Cw6INctVUN4iRvkn9T8E6q174RbcnwA/7yTc7p
  1NCvw+6B/aAN9l1G2pQXgRdYC/+G6o1IZEHtWhqzE97nY5QKNuUVD0V09dc5CDYB
  aKjqetwwv6DFk/GRdOSEd/6bW+20z0qSHpa3YNW6qSp+x5pyYmDrzRIR03os6Dau
  ZkChSRyc/Whvurx6o85D6qpzywo8xwNaLZHxTQPgcIA5su9ZIytv9LH2E+lSwwID
  AQABo3sweTAJBgNVHRMEAjAAMCwGCWCGSAGG+EIBDQQfFh1PcGVuU1NMIEdlbmVy
  YXRlZCBDZXJ0aWZpY2F0ZTAdBgNVHQ4EFgQU+tugFtyN+cXe1wxUqeA7X+yS3bgw
  HwYDVR0jBBgwFoAUhMwqkbBrGp87HxfvwgPnlGgVR64wDQYJKoZIhvcNAQEFBQAD
  ggEBAIEEmqqhEzeXZ4CKhE5UM9vCKzkj5Iv9TFs/a9CcQuepzplt7YVmevBFNOc0
  +1ZyR4tXgi4+5MHGzhYCIVvHo4hKqYm+J+o5mwQInf1qoAHuO7CLD3WNa1sKcVUV
  vepIxc/1aHZrG+dPeEHt0MdFfOw13YdUc2FH6AqEdcEL4aV5PXq2eYR8hR4zKbc1
  fBtuqUsvA8NWSIyzQ16fyGve+ANf6vXvUizyvwDrPRv/kfvLNa3ZPnLMMxU98Mvh
  PXy3PkB8++6U4Y3vdk2Ni2WYYlIls8yqbM4327IKmkDc2TimS8u60CT47mKU7aDY
  cbTV5RDkrlaYwm5yqlTIglvCv7o=
  -----END CERTIFICATE-----
Key (no passphrase)
  -----BEGIN RSA PRIVATE KEY-----
  MIIEowIBAAKCAQEAvpnaPKLIKdvx98KW68lz8pGaRRcYersNGqPjpifMVjjE8LuC
  oXgPU0HePnNTUjpShBnynKCvrtWhN+haKbSp+QWXSxiTrW99HBfAl1MDQyWcukoE
  b9Cw6INctVUN4iRvkn9T8E6q174RbcnwA/7yTc7p1NCvw+6B/aAN9l1G2pQXgRdY
  C/+G6o1IZEHtWhqzE97nY5QKNuUVD0V09dc5CDYBaKjqetwwv6DFk/GRdOSEd/6b
  W+20z0qSHpa3YNW6qSp+x5pyYmDrzRIR03os6DauZkChSRyc/Whvurx6o85D6qpz
  ywo8xwNaLZHxTQPgcIA5su9ZIytv9LH2E+lSwwIDAQABAoIBAFml8cD9a5pMqlW3
  f9btTQz1sRL4Fvp7CmHSXhvjsjeHwhHckEe0ObkWTRsgkTsm1XLu5W8IITnhn0+1
  iNr+78eB+rRGngdAXh8diOdkEy+8/Cee8tFI3jyutKdRlxMbwiKsouVviumoq3fx
  OGQYwQ0Z2l/PvCwy/Y82ffq3ysC5gAJsbBYsCrg14bQo44ulrELe4SDWs5HCjKYb
  EI2b8cOMucqZSOtxg9niLN/je2bo/I2HGSawibgcOdBms8k6TvsSrZMr3kJ5O6J+
  77LGwKH37brVgbVYvbq6nWPL0xLG7dUv+7LWEo5qQaPy6aXb/zbckqLqu6/EjOVe
  ydG5JQECgYEA9kKfTZD/WEVAreA0dzfeJRu8vlnwoagL7cJaoDxqXos4mcr5mPDT
  kbWgFkLFFH/AyUnPBlK6BcJp1XK67B13ETUa3i9Q5t1WuZEobiKKBLFm9DDQJt43
  uKZWJxBKFGSvFrYPtGZst719mZVcPct2CzPjEgN3Hlpt6fyw3eOrnoECgYEAxiOu
  jwXCOmuGaB7+OW2tR0PGEzbvVlEGdkAJ6TC/HoKM1A8r2u4hLTEJJCrLLTfw++4I
  ddHE2dLeR4Q7O58SfLphwgPmLDezN7WRLGr7Vyfuv7VmaHjGuC3Gv9agnhWDlA2Q
  gBG9/R9oVfL0Dc7CgJgLeUtItCYC31bGT3yhV0MCgYEA4k3DG4L+RN4PXDpHvK9I
  pA1jXAJHEifeHnaW1d3vWkbSkvJmgVf+9U5VeV+OwRHN1qzPZV4suRI6M/8lK8rA
  Gr4UnM4aqK4K/qkY4G05LKrik9Ev2CgqSLQDRA7CJQ+Jn3Nb50qg6hFnFPafN+J7
  7juWln08wFYV4Atpdd+9XQECgYBxizkZFL+9IqkfOcONvWAzGo+Dq1N0L3J4iTIk
  w56CKWXyj88d4qB4eUU3yJ4uB4S9miaW/eLEwKZIbWpUPFAn0db7i6h3ZmP5ZL8Q
  qS3nQCb9DULmU2/tU641eRUKAmIoka1g9sndKAZuWo+o6fdkIb1RgObk9XNn8R4r
  psv+aQKBgB+CIcExR30vycv5bnZN9EFlIXNKaeMJUrYCXcRQNvrnUIUBvAO8+jAe
  CdLygS5RtgOLZib0IVErqWsP3EI1ACGuLts0vQ9GFLQGaN1SaMS40C9kvns1mlDu
  LhIhYpJ8UsCVt5snWo2N+M+6ANh5tpWdQnEK6zILh4tRbuzaiHgb
  -----END RSA PRIVATE KEY-----
Web server certificate with the chain (including the root CA):
Certificate
  -----BEGIN CERTIFICATE-----
  MIID0DCCArigAwIBAgIBATANBgkqhkiG9w0BAQUFADB/MQswCQYDVQQGEwJGUjET
  MBEGA1UECAwKU29tZS1TdGF0ZTEOMAwGA1UEBwwFUGFyaXMxDTALBgNVBAoMBERp
  bWkxDTALBgNVBAsMBE5TQlUxEDAOBgNVBAMMB0RpbWkgQ0ExGzAZBgkqhkiG9w0B
  CQEWDGRpbWlAZGltaS5mcjAeFw0xNDAxMjgyMDM2NTVaFw0yNDAxMjYyMDM2NTVa
  MFsxCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQKDBhJ
  bnRlcm5ldCBXaWRnaXRzIFB0eSBMdGQxFDASBgNVBAMMC3d3dy5kaW1pLmZyMIIB
  IjANBgkqhkiG9w0BAQEFAAOCAQ8AMIIBCgKCAQEAvpnaPKLIKdvx98KW68lz8pGa
  RRcYersNGqPjpifMVjjE8LuCoXgPU0HePnNTUjpShBnynKCvrtWhN+haKbSp+QWX
  SxiTrW99HBfAl1MDQyWcukoEb9Cw6INctVUN4iRvkn9T8E6q174RbcnwA/7yTc7p
  1NCvw+6B/aAN9l1G2pQXgRdYC/+G6o1IZEHtWhqzE97nY5QKNuUVD0V09dc5CDYB
  aKjqetwwv6DFk/GRdOSEd/6bW+20z0qSHpa3YNW6qSp+x5pyYmDrzRIR03os6Dau
  ZkChSRyc/Whvurx6o85D6qpzywo8xwNaLZHxTQPgcIA5su9ZIytv9LH2E+lSwwID
  AQABo3sweTAJBgNVHRMEAjAAMCwGCWCGSAGG+EIBDQQfFh1PcGVuU1NMIEdlbmVy
  YXRlZCBDZXJ0aWZpY2F0ZTAdBgNVHQ4EFgQU+tugFtyN+cXe1wxUqeA7X+yS3bgw
  HwYDVR0jBBgwFoAUhMwqkbBrGp87HxfvwgPnlGgVR64wDQYJKoZIhvcNAQEFBQAD
  ggEBAIEEmqqhEzeXZ4CKhE5UM9vCKzkj5Iv9TFs/a9CcQuepzplt7YVmevBFNOc0
  +1ZyR4tXgi4+5MHGzhYCIVvHo4hKqYm+J+o5mwQInf1qoAHuO7CLD3WNa1sKcVUV
  vepIxc/1aHZrG+dPeEHt0MdFfOw13YdUc2FH6AqEdcEL4aV5PXq2eYR8hR4zKbc1
  fBtuqUsvA8NWSIyzQ16fyGve+ANf6vXvUizyvwDrPRv/kfvLNa3ZPnLMMxU98Mvh
  PXy3PkB8++6U4Y3vdk2Ni2WYYlIls8yqbM4327IKmkDc2TimS8u60CT47mKU7aDY
  cbTV5RDkrlaYwm5yqlTIglvCv7o=
  -----END CERTIFICATE-----
  -----BEGIN CERTIFICATE-----
  MIIDyTCCArGgAwIBAgIBADANBgkqhkiG9w0BAQUFADB/MQswCQYDVQQGEwJGUjET
  MBEGA1UECAwKU29tZS1TdGF0ZTEOMAwGA1UEBwwFUGFyaXMxDTALBgNVBAoMBERp
  bWkxDTALBgNVBAsMBE5TQlUxEDAOBgNVBAMMB0RpbWkgQ0ExGzAZBgkqhkiG9w0B
  CQEWDGRpbWlAZGltaS5mcjAeFw0xNDAxMjgyMDI2NDRaFw0yNDAxMjYyMDI2NDRa
  MH8xCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMQ4wDAYDVQQHDAVQ
  YXJpczENMAsGA1UECgwERGltaTENMAsGA1UECwwETlNCVTEQMA4GA1UEAwwHRGlt
  aSBDQTEbMBkGCSqGSIb3DQEJARYMZGltaUBkaW1pLmZyMIIBIjANBgkqhkiG9w0B
  AQEFAAOCAQ8AMIIBCgKCAQEAuxuG4QeBIGXj/AB/YRLLtpgpTpGnDntVlgsycZrL
  3qqyOdBNlwnvcB9etfY5iWzjeq7YZRr6i0dIV4sFNBR2NoK+YvdD9j1TRi7njZg0
  d6zth0xlsOhCsDlV/YCL1CTcYDlKA/QiKeIQa7GU3Rhf0t/KnAkr6mwoDbdKBQX1
  D5HgQuXJiFdh5XRebxF1ZB3gH+0kCEaEZPrjFDApkOXNxEARZdpBLpbvQljtVXtj
  HMsvrIOc7QqUSOU3GcbBMSHjT8cgg8ssf492Go3bDQkIzTROz9QgDHaqDqTC9Hoe
  vlIpTS+q/3BCY5AGWKl3CCR6dDyK6honnOR/8srezaN4PwIDAQABo1AwTjAdBgNV
  HQ4EFgQUhMwqkbBrGp87HxfvwgPnlGgVR64wHwYDVR0jBBgwFoAUhMwqkbBrGp87
  HxfvwgPnlGgVR64wDAYDVR0TBAUwAwEB/zANBgkqhkiG9w0BAQUFAAOCAQEAVqYq
  vhm5wAEKmvrKXRjeb5kiEIp7oZAFkYp6sKODuZ1VdkjMDD4wv46iqAe1QIIsfGwd
  Dmv0oqSl+iPPy24ATMSZQbPLO5K64Hw7Q8KPos0yD8gHSg2d4SOukj+FD2IjAH17
  a8auMw7TTHu6976JprQQKtPADRcfodGd5UFiz/6ZgLzUE23cktJMc2Bt18B9OZII
  J9ef2PZxZirJg1OqF2KssDlJP5ECo9K3EmovC5M5Aly++s8ayjBnNivtklYL1VOT
  ZrpPgcndTHUA5KS/Duf40dXm0snCxLAKNP28pMowDLSYc6IjVrD4+qqw3f1b7yGb
  bJcFgxKDeg5YecQOSg==
  -----END CERTIFICATE-----
Key (no passphrase)
  -----BEGIN RSA PRIVATE KEY-----
  MIIEowIBAAKCAQEAvpnaPKLIKdvx98KW68lz8pGaRRcYersNGqPjpifMVjjE8LuC
  oXgPU0HePnNTUjpShBnynKCvrtWhN+haKbSp+QWXSxiTrW99HBfAl1MDQyWcukoE
  b9Cw6INctVUN4iRvkn9T8E6q174RbcnwA/7yTc7p1NCvw+6B/aAN9l1G2pQXgRdY
  C/+G6o1IZEHtWhqzE97nY5QKNuUVD0V09dc5CDYBaKjqetwwv6DFk/GRdOSEd/6b
  W+20z0qSHpa3YNW6qSp+x5pyYmDrzRIR03os6DauZkChSRyc/Whvurx6o85D6qpz
  ywo8xwNaLZHxTQPgcIA5su9ZIytv9LH2E+lSwwIDAQABAoIBAFml8cD9a5pMqlW3
  f9btTQz1sRL4Fvp7CmHSXhvjsjeHwhHckEe0ObkWTRsgkTsm1XLu5W8IITnhn0+1
  iNr+78eB+rRGngdAXh8diOdkEy+8/Cee8tFI3jyutKdRlxMbwiKsouVviumoq3fx
  OGQYwQ0Z2l/PvCwy/Y82ffq3ysC5gAJsbBYsCrg14bQo44ulrELe4SDWs5HCjKYb
  EI2b8cOMucqZSOtxg9niLN/je2bo/I2HGSawibgcOdBms8k6TvsSrZMr3kJ5O6J+
  77LGwKH37brVgbVYvbq6nWPL0xLG7dUv+7LWEo5qQaPy6aXb/zbckqLqu6/EjOVe
  ydG5JQECgYEA9kKfTZD/WEVAreA0dzfeJRu8vlnwoagL7cJaoDxqXos4mcr5mPDT
  kbWgFkLFFH/AyUnPBlK6BcJp1XK67B13ETUa3i9Q5t1WuZEobiKKBLFm9DDQJt43
  uKZWJxBKFGSvFrYPtGZst719mZVcPct2CzPjEgN3Hlpt6fyw3eOrnoECgYEAxiOu
  jwXCOmuGaB7+OW2tR0PGEzbvVlEGdkAJ6TC/HoKM1A8r2u4hLTEJJCrLLTfw++4I
  ddHE2dLeR4Q7O58SfLphwgPmLDezN7WRLGr7Vyfuv7VmaHjGuC3Gv9agnhWDlA2Q
  gBG9/R9oVfL0Dc7CgJgLeUtItCYC31bGT3yhV0MCgYEA4k3DG4L+RN4PXDpHvK9I
  pA1jXAJHEifeHnaW1d3vWkbSkvJmgVf+9U5VeV+OwRHN1qzPZV4suRI6M/8lK8rA
  Gr4UnM4aqK4K/qkY4G05LKrik9Ev2CgqSLQDRA7CJQ+Jn3Nb50qg6hFnFPafN+J7
  7juWln08wFYV4Atpdd+9XQECgYBxizkZFL+9IqkfOcONvWAzGo+Dq1N0L3J4iTIk
  w56CKWXyj88d4qB4eUU3yJ4uB4S9miaW/eLEwKZIbWpUPFAn0db7i6h3ZmP5ZL8Q
  qS3nQCb9DULmU2/tU641eRUKAmIoka1g9sndKAZuWo+o6fdkIb1RgObk9XNn8R4r
  psv+aQKBgB+CIcExR30vycv5bnZN9EFlIXNKaeMJUrYCXcRQNvrnUIUBvAO8+jAe
  CdLygS5RtgOLZib0IVErqWsP3EI1ACGuLts0vQ9GFLQGaN1SaMS40C9kvns1mlDu
  LhIhYpJ8UsCVt5snWo2N+M+6ANh5tpWdQnEK6zILh4tRbuzaiHgb
  -----END RSA PRIVATE KEY-----
Certificate is saved in ESG:
1. Find ESG pwd
SSH admin to the NSX-v Manager + Enter Enable mode
nsxvmgr-01a> en
Password:
Enter Engineering mode
nsxvmgr-01a# st e
Engineering Mode: The authorized NSX Manager system administrator is requesting a shell which is able to perform lower level unix commands/diagnostics and make changes to the appliance. VMware asks that you do so only in conjunction with a support call to prevent breaking your virtual infrastructure. Please enter the shell diagnostics string before proceeding.Type Exit to return to the NSX shell. Type y to continue: y
Password: <------ IAmOnThePhoneWithTechSupport
Find the ESG root password
[root@nsxvmgr-01a ~]# /home/secureall/secureall/sem/WEB-INF/classes/GetSpockEdgePassword.sh
Edge root password:
edge-3 -> Zi02a[4wDBycqS
edge-1 -> U8te}JKjJaddh
edge-2 -> ONQoJo8wk,Jed
edge-05889fe6-1059-4440-b6ad-80395ace18a7 -> wO0lq0GX\tbU
2. Allow root access in ESG
Console on the ESG (must be done from console) + enable + debug engineeringmode enable
3. Access ESG as root
SSH admin to the ESG + Enter Enable mode
sitea-nsxv-esg-p2v-01-1> enable
Password:
Enter Engineering mode
sitea-nsxv-esg-p2v-01-1# st e
Password: <------ password found in Manager /home/secureall/secureall/sem/WEB-INF/classes/GetSpockEdgePassword.sh
Find the cert/key used in NSX-v LB
[root@sitea-nsxv-esg-p2v-01-1 ~]# cd /var/db/loadbalancer/certs
[root@sitea-nsxv-esg-p2v-01-1 /var/db/loadbalancer/certs]# ls
VIP2_vip-22.pem
Find what certificate is used in what VIP
  [root@sitea-nsxv-esg-p2v-01-1 ~]# /var/db/vmware/vshield/haproxy.conf
  frontend VIP2
  mode http
  bind 1.1.1.1:444 ssl ciphers !aNULL:kECDH+AES:ECDH+AES:RSA+AES:@STRENGTH crt certs/VIP2_vip-22.pem no-sslv3 no-tlsv10 transparent
Note: The cert/key is always stored without passphrase. If the configuration of the VIP was done with a cert/key with passphrase, this one is removed from the cert/key before being saved in the ESG.

## Slide 91: L7 HTTPS VIP - with HTTPS off-load (2/3)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP. The Edge forwards the clients' requests via HTTP – cont.
  Create the HTTPS Application Profile
    Under "Edge – Manage / Load Balancer / Application Profiles"

## Slide 92: L7 HTTPS VIP - with HTTPS off-load (3/3)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP. The Edge forwards the clients' requests via HTTP – cont.
  Create the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
Technical Note:
The pool selected is composed of HTTP servers (not HTTPS servers)

## Slide 93: L7 HTTPS VIP - with HTTPS end-to-end (1/3)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP. The Edge establish new HTTPS connections to the servers
  Import the web server certificate
    Under "Edge – Manage / Settings / Certificates" – add Certificate
      An example of certificate and private key in the notes below.
      Note: Copy the cert + key with the "-----BEGIN xxx-----" and "-----END xxx-----" included.
      Note2: In case of chain certificate (certificate with the intermediate/root CA), the certificate content is the
        -----BEGIN CERTIFICATE-----
        Server cert
        -----END CERTIFICATE-----
        -----BEGIN CERTIFICATE-----
        Root cert
        -----END CERTIFICATE-----
Notes: Web server certificate:
Certificate
  -----BEGIN CERTIFICATE-----
  MIID0DCCArigAwIBAgIBATANBgkqhkiG9w0BAQUFADB/MQswCQYDVQQGEwJGUjET
  MBEGA1UECAwKU29tZS1TdGF0ZTEOMAwGA1UEBwwFUGFyaXMxDTALBgNVBAoMBERp
  bWkxDTALBgNVBAsMBE5TQlUxEDAOBgNVBAMMB0RpbWkgQ0ExGzAZBgkqhkiG9w0B
  CQEWDGRpbWlAZGltaS5mcjAeFw0xNDAxMjgyMDM2NTVaFw0yNDAxMjYyMDM2NTVa
  MFsxCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQKDBhJ
  bnRlcm5ldCBXaWRnaXRzIFB0eSBMdGQxFDASBgNVBAMMC3d3dy5kaW1pLmZyMIIB
  IjANBgkqhkiG9w0BAQEFAAOCAQ8AMIIBCgKCAQEAvpnaPKLIKdvx98KW68lz8pGa
  RRcYersNGqPjpifMVjjE8LuCoXgPU0HePnNTUjpShBnynKCvrtWhN+haKbSp+QWX
  SxiTrW99HBfAl1MDQyWcukoEb9Cw6INctVUN4iRvkn9T8E6q174RbcnwA/7yTc7p
  1NCvw+6B/aAN9l1G2pQXgRdYC/+G6o1IZEHtWhqzE97nY5QKNuUVD0V09dc5CDYB
  aKjqetwwv6DFk/GRdOSEd/6bW+20z0qSHpa3YNW6qSp+x5pyYmDrzRIR03os6Dau
  ZkChSRyc/Whvurx6o85D6qpzywo8xwNaLZHxTQPgcIA5su9ZIytv9LH2E+lSwwID
  AQABo3sweTAJBgNVHRMEAjAAMCwGCWCGSAGG+EIBDQQfFh1PcGVuU1NMIEdlbmVy
  YXRlZCBDZXJ0aWZpY2F0ZTAdBgNVHQ4EFgQU+tugFtyN+cXe1wxUqeA7X+yS3bgw
  HwYDVR0jBBgwFoAUhMwqkbBrGp87HxfvwgPnlGgVR64wDQYJKoZIhvcNAQEFBQAD
  ggEBAIEEmqqhEzeXZ4CKhE5UM9vCKzkj5Iv9TFs/a9CcQuepzplt7YVmevBFNOc0
  +1ZyR4tXgi4+5MHGzhYCIVvHo4hKqYm+J+o5mwQInf1qoAHuO7CLD3WNa1sKcVUV
  vepIxc/1aHZrG+dPeEHt0MdFfOw13YdUc2FH6AqEdcEL4aV5PXq2eYR8hR4zKbc1
  fBtuqUsvA8NWSIyzQ16fyGve+ANf6vXvUizyvwDrPRv/kfvLNa3ZPnLMMxU98Mvh
  PXy3PkB8++6U4Y3vdk2Ni2WYYlIls8yqbM4327IKmkDc2TimS8u60CT47mKU7aDY
  cbTV5RDkrlaYwm5yqlTIglvCv7o=
  -----END CERTIFICATE-----
Key (no passphrase)
  -----BEGIN RSA PRIVATE KEY-----
  MIIEowIBAAKCAQEAvpnaPKLIKdvx98KW68lz8pGaRRcYersNGqPjpifMVjjE8LuC
  oXgPU0HePnNTUjpShBnynKCvrtWhN+haKbSp+QWXSxiTrW99HBfAl1MDQyWcukoE
  b9Cw6INctVUN4iRvkn9T8E6q174RbcnwA/7yTc7p1NCvw+6B/aAN9l1G2pQXgRdY
  C/+G6o1IZEHtWhqzE97nY5QKNuUVD0V09dc5CDYBaKjqetwwv6DFk/GRdOSEd/6b
  W+20z0qSHpa3YNW6qSp+x5pyYmDrzRIR03os6DauZkChSRyc/Whvurx6o85D6qpz
  ywo8xwNaLZHxTQPgcIA5su9ZIytv9LH2E+lSwwIDAQABAoIBAFml8cD9a5pMqlW3
  f9btTQz1sRL4Fvp7CmHSXhvjsjeHwhHckEe0ObkWTRsgkTsm1XLu5W8IITnhn0+1
  iNr+78eB+rRGngdAXh8diOdkEy+8/Cee8tFI3jyutKdRlxMbwiKsouVviumoq3fx
  OGQYwQ0Z2l/PvCwy/Y82ffq3ysC5gAJsbBYsCrg14bQo44ulrELe4SDWs5HCjKYb
  EI2b8cOMucqZSOtxg9niLN/je2bo/I2HGSawibgcOdBms8k6TvsSrZMr3kJ5O6J+
  77LGwKH37brVgbVYvbq6nWPL0xLG7dUv+7LWEo5qQaPy6aXb/zbckqLqu6/EjOVe
  ydG5JQECgYEA9kKfTZD/WEVAreA0dzfeJRu8vlnwoagL7cJaoDxqXos4mcr5mPDT
  kbWgFkLFFH/AyUnPBlK6BcJp1XK67B13ETUa3i9Q5t1WuZEobiKKBLFm9DDQJt43
  uKZWJxBKFGSvFrYPtGZst719mZVcPct2CzPjEgN3Hlpt6fyw3eOrnoECgYEAxiOu
  jwXCOmuGaB7+OW2tR0PGEzbvVlEGdkAJ6TC/HoKM1A8r2u4hLTEJJCrLLTfw++4I
  ddHE2dLeR4Q7O58SfLphwgPmLDezN7WRLGr7Vyfuv7VmaHjGuC3Gv9agnhWDlA2Q
  gBG9/R9oVfL0Dc7CgJgLeUtItCYC31bGT3yhV0MCgYEA4k3DG4L+RN4PXDpHvK9I
  pA1jXAJHEifeHnaW1d3vWkbSkvJmgVf+9U5VeV+OwRHN1qzPZV4suRI6M/8lK8rA
  Gr4UnM4aqK4K/qkY4G05LKrik9Ev2CgqSLQDRA7CJQ+Jn3Nb50qg6hFnFPafN+J7
  7juWln08wFYV4Atpdd+9XQECgYBxizkZFL+9IqkfOcONvWAzGo+Dq1N0L3J4iTIk
  w56CKWXyj88d4qB4eUU3yJ4uB4S9miaW/eLEwKZIbWpUPFAn0db7i6h3ZmP5ZL8Q
  qS3nQCb9DULmU2/tU641eRUKAmIoka1g9sndKAZuWo+o6fdkIb1RgObk9XNn8R4r
  psv+aQKBgB+CIcExR30vycv5bnZN9EFlIXNKaeMJUrYCXcRQNvrnUIUBvAO8+jAe
  CdLygS5RtgOLZib0IVErqWsP3EI1ACGuLts0vQ9GFLQGaN1SaMS40C9kvns1mlDu
  LhIhYpJ8UsCVt5snWo2N+M+6ANh5tpWdQnEK6zILh4tRbuzaiHgb
  -----END RSA PRIVATE KEY-----
Web server certificate with the chain (including the root CA):
Certificate
  -----BEGIN CERTIFICATE-----
  MIID0DCCArigAwIBAgIBATANBgkqhkiG9w0BAQUFADB/MQswCQYDVQQGEwJGUjET
  MBEGA1UECAwKU29tZS1TdGF0ZTEOMAwGA1UEBwwFUGFyaXMxDTALBgNVBAoMBERp
  bWkxDTALBgNVBAsMBE5TQlUxEDAOBgNVBAMMB0RpbWkgQ0ExGzAZBgkqhkiG9w0B
  CQEWDGRpbWlAZGltaS5mcjAeFw0xNDAxMjgyMDM2NTVaFw0yNDAxMjYyMDM2NTVa
  MFsxCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQKDBhJ
  bnRlcm5ldCBXaWRnaXRzIFB0eSBMdGQxFDASBgNVBAMMC3d3dy5kaW1pLmZyMIIB
  IjANBgkqhkiG9w0BAQEFAAOCAQ8AMIIBCgKCAQEAvpnaPKLIKdvx98KW68lz8pGa
  RRcYersNGqPjpifMVjjE8LuCoXgPU0HePnNTUjpShBnynKCvrtWhN+haKbSp+QWX
  SxiTrW99HBfAl1MDQyWcukoEb9Cw6INctVUN4iRvkn9T8E6q174RbcnwA/7yTc7p
  1NCvw+6B/aAN9l1G2pQXgRdYC/+G6o1IZEHtWhqzE97nY5QKNuUVD0V09dc5CDYB
  aKjqetwwv6DFk/GRdOSEd/6bW+20z0qSHpa3YNW6qSp+x5pyYmDrzRIR03os6Dau
  ZkChSRyc/Whvurx6o85D6qpzywo8xwNaLZHxTQPgcIA5su9ZIytv9LH2E+lSwwID
  AQABo3sweTAJBgNVHRMEAjAAMCwGCWCGSAGG+EIBDQQfFh1PcGVuU1NMIEdlbmVy
  YXRlZCBDZXJ0aWZpY2F0ZTAdBgNVHQ4EFgQU+tugFtyN+cXe1wxUqeA7X+yS3bgw
  HwYDVR0jBBgwFoAUhMwqkbBrGp87HxfvwgPnlGgVR64wDQYJKoZIhvcNAQEFBQAD
  ggEBAIEEmqqhEzeXZ4CKhE5UM9vCKzkj5Iv9TFs/a9CcQuepzplt7YVmevBFNOc0
  +1ZyR4tXgi4+5MHGzhYCIVvHo4hKqYm+J+o5mwQInf1qoAHuO7CLD3WNa1sKcVUV
  vepIxc/1aHZrG+dPeEHt0MdFfOw13YdUc2FH6AqEdcEL4aV5PXq2eYR8hR4zKbc1
  fBtuqUsvA8NWSIyzQ16fyGve+ANf6vXvUizyvwDrPRv/kfvLNa3ZPnLMMxU98Mvh
  PXy3PkB8++6U4Y3vdk2Ni2WYYlIls8yqbM4327IKmkDc2TimS8u60CT47mKU7aDY
  cbTV5RDkrlaYwm5yqlTIglvCv7o=
  -----END CERTIFICATE-----
  -----BEGIN CERTIFICATE-----
  MIIDyTCCArGgAwIBAgIBADANBgkqhkiG9w0BAQUFADB/MQswCQYDVQQGEwJGUjET
  MBEGA1UECAwKU29tZS1TdGF0ZTEOMAwGA1UEBwwFUGFyaXMxDTALBgNVBAoMBERp
  bWkxDTALBgNVBAsMBE5TQlUxEDAOBgNVBAMMB0RpbWkgQ0ExGzAZBgkqhkiG9w0B
  CQEWDGRpbWlAZGltaS5mcjAeFw0xNDAxMjgyMDI2NDRaFw0yNDAxMjYyMDI2NDRa
  MH8xCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMQ4wDAYDVQQHDAVQ
  YXJpczENMAsGA1UECgwERGltaTENMAsGA1UECwwETlNCVTEQMA4GA1UEAwwHRGlt
  aSBDQTEbMBkGCSqGSIb3DQEJARYMZGltaUBkaW1pLmZyMIIBIjANBgkqhkiG9w0B
  AQEFAAOCAQ8AMIIBCgKCAQEAuxuG4QeBIGXj/AB/YRLLtpgpTpGnDntVlgsycZrL
  3qqyOdBNlwnvcB9etfY5iWzjeq7YZRr6i0dIV4sFNBR2NoK+YvdD9j1TRi7njZg0
  d6zth0xlsOhCsDlV/YCL1CTcYDlKA/QiKeIQa7GU3Rhf0t/KnAkr6mwoDbdKBQX1
  D5HgQuXJiFdh5XRebxF1ZB3gH+0kCEaEZPrjFDApkOXNxEARZdpBLpbvQljtVXtj
  HMsvrIOc7QqUSOU3GcbBMSHjT8cgg8ssf492Go3bDQkIzTROz9QgDHaqDqTC9Hoe
  vlIpTS+q/3BCY5AGWKl3CCR6dDyK6honnOR/8srezaN4PwIDAQABo1AwTjAdBgNV
  HQ4EFgQUhMwqkbBrGp87HxfvwgPnlGgVR64wHwYDVR0jBBgwFoAUhMwqkbBrGp87
  HxfvwgPnlGgVR64wDAYDVR0TBAUwAwEB/zANBgkqhkiG9w0BAQUFAAOCAQEAVqYq
  vhm5wAEKmvrKXRjeb5kiEIp7oZAFkYp6sKODuZ1VdkjMDD4wv46iqAe1QIIsfGwd
  Dmv0oqSl+iPPy24ATMSZQbPLO5K64Hw7Q8KPos0yD8gHSg2d4SOukj+FD2IjAH17
  a8auMw7TTHu6976JprQQKtPADRcfodGd5UFiz/6ZgLzUE23cktJMc2Bt18B9OZII
  J9ef2PZxZirJg1OqF2KssDlJP5ECo9K3EmovC5M5Aly++s8ayjBnNivtklYL1VOT
  ZrpPgcndTHUA5KS/Duf40dXm0snCxLAKNP28pMowDLSYc6IjVrD4+qqw3f1b7yGb
  bJcFgxKDeg5YecQOSg==
  -----END CERTIFICATE-----
Key (no passphrase)
  -----BEGIN RSA PRIVATE KEY-----
  MIIEowIBAAKCAQEAvpnaPKLIKdvx98KW68lz8pGaRRcYersNGqPjpifMVjjE8LuC
  oXgPU0HePnNTUjpShBnynKCvrtWhN+haKbSp+QWXSxiTrW99HBfAl1MDQyWcukoE
  b9Cw6INctVUN4iRvkn9T8E6q174RbcnwA/7yTc7p1NCvw+6B/aAN9l1G2pQXgRdY
  C/+G6o1IZEHtWhqzE97nY5QKNuUVD0V09dc5CDYBaKjqetwwv6DFk/GRdOSEd/6b
  W+20z0qSHpa3YNW6qSp+x5pyYmDrzRIR03os6DauZkChSRyc/Whvurx6o85D6qpz
  ywo8xwNaLZHxTQPgcIA5su9ZIytv9LH2E+lSwwIDAQABAoIBAFml8cD9a5pMqlW3
  f9btTQz1sRL4Fvp7CmHSXhvjsjeHwhHckEe0ObkWTRsgkTsm1XLu5W8IITnhn0+1
  iNr+78eB+rRGngdAXh8diOdkEy+8/Cee8tFI3jyutKdRlxMbwiKsouVviumoq3fx
  OGQYwQ0Z2l/PvCwy/Y82ffq3ysC5gAJsbBYsCrg14bQo44ulrELe4SDWs5HCjKYb
  EI2b8cOMucqZSOtxg9niLN/je2bo/I2HGSawibgcOdBms8k6TvsSrZMr3kJ5O6J+
  77LGwKH37brVgbVYvbq6nWPL0xLG7dUv+7LWEo5qQaPy6aXb/zbckqLqu6/EjOVe
  ydG5JQECgYEA9kKfTZD/WEVAreA0dzfeJRu8vlnwoagL7cJaoDxqXos4mcr5mPDT
  kbWgFkLFFH/AyUnPBlK6BcJp1XK67B13ETUa3i9Q5t1WuZEobiKKBLFm9DDQJt43
  uKZWJxBKFGSvFrYPtGZst719mZVcPct2CzPjEgN3Hlpt6fyw3eOrnoECgYEAxiOu
  jwXCOmuGaB7+OW2tR0PGEzbvVlEGdkAJ6TC/HoKM1A8r2u4hLTEJJCrLLTfw++4I
  ddHE2dLeR4Q7O58SfLphwgPmLDezN7WRLGr7Vyfuv7VmaHjGuC3Gv9agnhWDlA2Q
  gBG9/R9oVfL0Dc7CgJgLeUtItCYC31bGT3yhV0MCgYEA4k3DG4L+RN4PXDpHvK9I
  pA1jXAJHEifeHnaW1d3vWkbSkvJmgVf+9U5VeV+OwRHN1qzPZV4suRI6M/8lK8rA
  Gr4UnM4aqK4K/qkY4G05LKrik9Ev2CgqSLQDRA7CJQ+Jn3Nb50qg6hFnFPafN+J7
  7juWln08wFYV4Atpdd+9XQECgYBxizkZFL+9IqkfOcONvWAzGo+Dq1N0L3J4iTIk
  w56CKWXyj88d4qB4eUU3yJ4uB4S9miaW/eLEwKZIbWpUPFAn0db7i6h3ZmP5ZL8Q
  qS3nQCb9DULmU2/tU641eRUKAmIoka1g9sndKAZuWo+o6fdkIb1RgObk9XNn8R4r
  psv+aQKBgB+CIcExR30vycv5bnZN9EFlIXNKaeMJUrYCXcRQNvrnUIUBvAO8+jAe
  CdLygS5RtgOLZib0IVErqWsP3EI1ACGuLts0vQ9GFLQGaN1SaMS40C9kvns1mlDu
  LhIhYpJ8UsCVt5snWo2N+M+6ANh5tpWdQnEK6zILh4tRbuzaiHgb
  -----END RSA PRIVATE KEY-----

## Slide 94: L7 HTTPS VIP - with HTTPS end-to-end (2/3)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP. The Edge establish new HTTPS connections to the servers – cont.
  Create the HTTPS Application Profile
    Under "Edge – Manage / Load Balancer / Application Profiles"

## Slide 95: L7 HTTPS VIP - with HTTPS end-to-end (3/3)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP. The Edge establish new HTTPS connections to the servers – cont.
  Create the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
Technical Note:
The pool selected is composed of HTTPS servers

## Slide 96: L7 HTTPS VIP - with HTTPS off-load + selection of ciphers (1/3)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP. The Edge forwards the clients' requests via HTTP and only specific ciphers should be accepted by the Edge
  Import the web server certificate
    See "L7 HTTPS VIP - with HTTPS off-load"
    Important note:
    From 6.1.4, SSLv3 is disabled by default.
      To enable SSLv3 back, use the following Application Rule: "sslv3 enable".
    From 6.2.3 TLSv1.0 is also disabled by default.
      To enable TLSv1.0 back, use the following Application Rule: "tlsv1 enable".
      To enable only TLSv1.2 (disable TLSv1.1), select only the ciphers listed in the Notes.
    From 6.4.1 apprules are enhanced to disable TLSv1.1 (enabled by default)
      To disable TLSv1.1, use the following Application Rule: "tlsv11 disable".
Notes: Pre NSX-v 6.4.1, to have only TLSv1.2, use the following ciphers in the Application Profile:
  ECDHE-RSA-AES128-GCM-SHA256
  ECDHE-RSA-AES256-GCM-SHA384
  ECDHE-ECDSA-AES256-SHA
  ECDH-ECDSA-AES256-SHA
  ECDH-RSA-AES256-SHA
  ECDHE-RSA-AES128-SHA256
  ECDHE-RSA-AES256-SHA384
  AES128-SHA256
  AES128-GCM-SHA256
  AES256-SHA256
  AES256-GCM-SHA384
To test SSL/TLS version accepted:
root@Lab1SSHJumpHost:~# nmap --script ssl-cert,ssl-enum-ciphers -p 443 20.20.20.2 | grep -e SSLv -e TLSv
| TLSv1.1: No supported ciphers found
| TLSv1.2:

## Slide 97: L7 HTTPS VIP - with HTTPS off-load + selection of ciphers (2/3)
  Create the HTTPS Application Profile
    See "L7 HTTPS VIP - with HTTPS off-load"
    And configure the cipher list
      From 6.2.4 only the following ciphers are supported (and must be only 1 cipher)
        DEFAULT('!aNULL:kECDH+AES:ECDH+AES:RSA+AES:@STRENGTH')
        ECDHE-RSA-AES128-GCM-SHA256
        ECDHE-RSA-AES256-GCM-SHA384
        ECDHE-RSA-AES256-SHA
        ECDHE-ECDSA-AES256-SHA
        ECDH-ECDSA-AES256-SHA
      For instance:
        To allow only AES128-SHA, use the cipher "AES128-SHA”
        ECDH-RSA-AES256-SHA
        AES256-SHA
        AES128-SHA
        DES-CBC3-SHA
Notes: NSX 6.2.2
There is no validation for ciphers of ClientSSL and ServerSSL, the customer may define own-ciphers (like 3DSE, DHE-RSA-256),
and NSX manager will pass these values to edge, so in 6.2.2, the customer may use any ciphers (includes single ciphers and multi-ciphers, like: cipher1:cipher2:cipher3)
NSX 6.2.4
In 6.2.4, approved ciphers suite has been introduced with FIPS, the customer only may use approved ciphers suite as below:
DEFAULT('!aNULL:kECDH+AES:ECDH+AES:RSA+AES:@STRENGTH')
ECDHE-RSA-AES128-GCM-SHA256
ECDHE-RSA-AES256-GCM-SHA384
ECDHE-RSA-AES256-SHA
ECDHE-ECDSA-AES256-SHA
ECDH-ECDSA-AES256-SHA
ECDH-RSA-AES256-SHA
AES256-SHA
AES128-SHA
DES-CBC3-SHA
MP side will validate ciphers for ClientSSL and ServerSSL, include these cases:
If cipher is null or empty, will be reset to “DEFAULT”
If cipher is not in approved ciphers suite, will be reset to “DEFAULT”
If cipher is in approved ciphers suite, will pass ciphers to edge
Upgrade from old version, also if cipher is null/empty or not in approved ciphers suite in old version, will be reset to “DEFAULT”
In 6.2.4, only support single cipher, not support multi-ciphers
In 6.2.4, backend validation is ready, but UI doesn’t support the function completely, in 6.3.0, UI will finish ciphers suite.
NSX 6.3.0
Enhance ciphers suite and perform validation:
Allow multi-ciphers, like “AES256-SHA: AES128-SHA: DES-CBC3-SHA”
UI allows the customer to select single/multiple ciphers from drop list, and don’t allow the customer input own-ciphers

## Slide 98: L7 HTTPS VIP - with HTTPS off-load + selection of ciphers (3/3)
  Create the Virtual Server
    See "L7 HTTPS VIP - with HTTPS off-load"

## Slide 99: L7 HTTPS VIP - with HTTPS Client Authentication (1/5)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP and requests for client certificate
  Import the web server certificate + Root CA
    See "L7 HTTPS VIP - with HTTPS off-load"
      Note: Server cert/key signed by CA in the Notes
      This imports the server certificate + Root CA in the Edge
Notes: Web server certificate with the chain (including the root CA):
Certificate
  -----BEGIN CERTIFICATE-----
  MIIFJjCCAw4CAQEwDQYJKoZIhvcNAQEFBQAwVzELMAkGA1UEBhMCRlIxEzARBgNV
  BAgMClNvbWUtU3RhdGUxITAfBgNVBAoMGEludGVybmV0IFdpZGdpdHMgUHR5IEx0
  ZDEQMA4GA1UEAwwHRGltaS1DQTAeFw0xNTAxMjkwNzQ2MDlaFw0yNTAxMjYwNzQ2
  MDlaMFsxCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQK
  DBhJbnRlcm5ldCBXaWRnaXRzIFB0eSBMdGQxFDASBgNVBAMMC3d3dy5kaW1pLmZy
  MIICIjANBgkqhkiG9w0BAQEFAAOCAg8AMIICCgKCAgEA5B4YCA4KaniPPjRWl+ii
  iZZ+B2lzJZp3NGtV5hXJoTvQy0U7secUD0TOU0gG+76gPMTgrlUelsS4kLTKnn2n
  UWtVArPs2Jempq5+sPUbwsXtpgkyayISCYG1dcUnE8Lc8XJfshxDcCJj5laTsdmT
  p59NzOGE2Oms/fGbsUfq+Nw0iwL8Ferrbb4An+8elyuMFi7oUoJDVUCNQf8HRacY
  9uL/Dq0DDKdCB6gX6sUhwpqABauZ03PYgNx7IPFijGqNF0O0mC8Wu3yz5w8CcOXm
  h5cdlz+0k4wgCVXa+itS6XS08HwisB5AXVnIHPsLb9otX9RD5ap5O5zMKr49uEU/
  OKeo3nnTRw3Oy4vLdpZ1mw3guPqOvTUirLwe1snlTTn/BnV6gF8VILXyFcD2wQrP
  BlcE4TAa+YerHjA8Htmcf8JZzeZ7S9M0S6U4liUGvkF+8as6o1Bp2vE3gBPAvWM6
  amOW857+eQRR7bi4zNuBWWjO4Sqpkoeyn9iUvQemgItWWfY3Cx++epOmKozVzhdV
  Kf1aVq4uyR/C3eCWJD20IJ+zD1VCE+YCz+UVv5qGVaqbtwHZqoklgAGN5NxUkz7Z
  NnbhcK5EcazwVNG9TvghlTYP2HAeh1QViuEeLboYXSXS5KmPzBSPZS3ltD/pQMvg
  mtzq+ODMK9jlwkLcv+ZpcxMCAwEAATANBgkqhkiG9w0BAQUFAAOCAgEAipLue/CP
  Lj4lOF+G4awqxbvF89Kq+QM2ZcPhA+WzYDiM08zOQBTYQqI1G46P2xpp6v9LYVR3
  6P4M8DyteRag1vMvPRSAMb4v/grCMDbUQRgPE5SJWB5z4Zsg767ZFlld1rgUx2fv
  0Mw6Fxe2thRumaHJLVpfOwiUrO9g6sfYN4O82Q13wCrPucn/jHeVIcSGyWbHcEiA
  hjJWMYBH42r3aTP4Leip09zS2iE8CMxiARih0VLfFSoycMC1NW6f/1Zma0NaMW4E
  jHzjGHt2na3JTIK92sciO7YhYw7J/i8W9iNy/b+8dg/KzMu1GH9F1iGXLwjerFTy
  IlLuxE/WMBZndrLsXxTcyqmVSJlqpnZYVEjhiRmKeMDDaBz/eM9b6pgq5FsrVNst
  a/vsK4on+1k08TrXlJxuNuLALafm2IoK/SNrd42ZjX5mRCyLb2I8WUa/VGMFZ9a/
  92O4DXfRwi5UCQFtvFwJQLCnP5xbEKoBVvDfuRCOMgPkfil+QfSrWVAPmn7Dmpph
  LXCXtAo+3sEpo9cRpSNp/TeKplXr1DzyPnGgglOb8mLYD3XysDcQx1KmumcodyUH
  I2Djr5KQtZfa7mxFuDPJgGdR+wSIv1MNkvPZG+o+F50PbFoHgU0eYcoDq6okwxss
  zR23WrqkIYRxnOXYVHywy6Rw3yPQas9dpj4=
  -----END CERTIFICATE-----
  -----BEGIN CERTIFICATE-----
  MIIFgTCCA2mgAwIBAgIJAP0MXOQV1tJnMA0GCSqGSIb3DQEBBQUAMFcxCzAJBgNV
  BAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQKDBhJbnRlcm5ldCBX
  aWRnaXRzIFB0eSBMdGQxEDAOBgNVBAMMB0RpbWktQ0EwHhcNMTUwMTI5MDc0NDM4
  WhcNMjUwMTI2MDc0NDM4WjBXMQswCQYDVQQGEwJGUjETMBEGA1UECAwKU29tZS1T
  dGF0ZTEhMB8GA1UECgwYSW50ZXJuZXQgV2lkZ2l0cyBQdHkgTHRkMRAwDgYDVQQD
  DAdEaW1pLUNBMIICIjANBgkqhkiG9w0BAQEFAAOCAg8AMIICCgKCAgEA1FY+XazP
  OGxY8V+Ne8YR54SAgLOXO3M5J3M2k/9bm3JCme+GxvjeoAl/8rPbrYlTqFkqsM2M
  Vv50O1ykLFwfzvL1C+gprRaQbOQIN2y6y/usjunQq/WfVpDvGOMoagU8/JJtY364
  i3aZBio26wXDiK5JqWeNfSNFaR8usLUxdqicG3lppTbvwzxlK7QC4+X5BBBukOvX
  B2T/qTfjjHIvcAbyfg3Iv+8TsIfE/EwhgtGgg8I4rXoqfh4BK2aYpCIM4oNVy28C
  WF5+6RhXHg21fioyNHNIxp+QYjxGACzBbIdDcPvb0K+neA/gEinq9Mk9Biihxbzi
  LJosgCpiRFQiPSYzYit0eScLNsp/A+b9Jqyvm7CccTvwBRcRTF1sDybwYxWlcNUJ
  25e9VE9GW+8C8wn13o/BfoG4UWk9v10KIyLaTjQKSsPFDqScYDPgxhHQshbHzblm
  rg/4wby4wqJktolLI0/Su1RQBOwXEKP5AKSsvD1zfI5KadU1pbjYkZxjbKqkRI+d
  pjetQspSGYg8EqHsorPd1hle1DvcQugIxXTRXTkcPbtNttxprku4UMXDs7vKlrGG
  vSbE0O4a04OOpr7EsKCFYueH/MAypRvw+tDO0zy0jILiUcDXABMfLqkBVQJoWWqp
  8TKtDc7J0LY/BMs57aKMRU/RZi4RDCD6+VcCAwEAAaNQME4wHQYDVR0OBBYEFI3Y
  /TwGaSUMr7Qlq9xFkZq6MlgsMB8GA1UdIwQYMBaAFI3Y/TwGaSUMr7Qlq9xFkZq6
  MlgsMAwGA1UdEwQFMAMBAf8wDQYJKoZIhvcNAQEFBQADggIBAFyLa4NQJZDRH3zC
  QabOSzKvv74RYyNEafysEuX46TUOywi0+RaMSZSgxUOXt1R0mH4OA+CAmnq6U9he
  ofCGQw1YcoDraGVcqVNu0hm0eUFL/066ckk87Cn7NEIBNo0VqegGP+3hAVGNz5CY
  giJU93mMKEB1BcxL9aaIAMUlCoeOl1/HtfL1CHRivo//ZLlClhlTIWNG4JMN4Cb7
  1CFNTbQxTxs15vzZl6PMixUWQPJyXZ26LLnEI0FsqZll6mgjVjbNFbdqbQcnWtoO
  Dpk0J69E6Y5B6QmKWcB+F1tQhTYW2R3omMK1/16h+vhrbcemySJHO0Mf+WQ0Rqsx
  0ieawgNhWEswgStotSl3428jaayZ+xvTCjTa9dV2qCYk0EtyTivzJ9WaCfug62qV
  snVG+qqmKOBEOHXgZVNVg2xUqKvbdyqqAZvpz7LvUeOpsK07LGddgo7/i7x6zANz
  JuD23PYJWi1kMv36PS5SFN7VjtMikdF+VZRgVpNZHqExjpNBLNKKyQExCSQorES+
  nhN1jeacWQMGS9KgzKd7QnBwjf38GzqhvJZbYXGABM0sC1VqTpx+AauNh/QFf02y
  cb9hsu6yNoUNCWw2uJErxVK1xqLIevA/CVLqiF3rBrJJrwKPiiRSn27ddVOJdjkQ
  3rCRtHcMO+axQOB0dB/Vg3DX48X8
  -----END CERTIFICATE-----
Key (no passphrase)
  -----BEGIN RSA PRIVATE KEY-----MIIJKQIBAAKCAgEA5B4YCA4KaniPPjRWl+iiiZZ+B2lzJZp3NGtV5hXJoTvQy0U7secUD0TOU0gG+76gPMTgrlUelsS4kLTKnn2nUWtVArPs2Jempq5+sPUbwsXtpgkyayISCYG1dcUnE8Lc8XJfshxDcCJj5laTsdmTp59NzOGE2Oms/fGbsUfq+Nw0iwL8Ferrbb4An+8elyuMFi7oUoJDVUCNQf8HRacY9uL/Dq0DDKdCB6gX6sUhwpqABauZ03PYgNx7IPFijGqNF0O0mC8Wu3yz5w8CcOXmh5cdlz+0k4wgCVXa+itS6XS08HwisB5AXVnIHPsLb9otX9RD5ap5O5zMKr49uEU/OKeo3nnTRw3Oy4vLdpZ1mw3guPqOvTUirLwe1snlTTn/BnV6gF8VILXyFcD2wQrPBlcE4TAa+YerHjA8Htmcf8JZzeZ7S9M0S6U4liUGvkF+8as6o1Bp2vE3gBPAvWM6amOW857+eQRR7bi4zNuBWWjO4Sqpkoeyn9iUvQemgItWWfY3Cx++epOmKozVzhdVKf1aVq4uyR/C3eCWJD20IJ+zD1VCE+YCz+UVv5qGVaqbtwHZqoklgAGN5NxUkz7ZNnbhcK5EcazwVNG9TvghlTYP2HAeh1QViuEeLboYXSXS5KmPzBSPZS3ltD/pQMvgmtzq+ODMK9jlwkLcv+ZpcxMCAwEAAQKCAgAqNDsj+l0I98cgrhQ7RKoVpIcqneLU2TAmvZkF2ZAVSXjGssdpkaQPcx5tIA1StCD3PUGIX20qXbj75Mb77alwEdiHiHxQUjZd7ji4SpDZRz9BkcAHPCV0JtBIurIRIOM5tHxp+nqrm2E6M1hd9jAwOfPt7OdkLk94KCQy92hMpIkAEwxKjc0C371D2byiIUdor0MCSOFmO2wnAqT4yQKAYtznfTDsPWGlAv9xywkE9QqsgeQS0AMFTEVngeFGs0vpOviFk2i0RU0PeaJs+svc2CN8YSfqiGlA8OZzlGJhmNsFByJvzRkBbGPuoK+sAQSWDzKEojaNxeOsIMhQeFdKrabi557pHs1ACOfLX0j74nWNMYbardBr07PXfb0pcUNQXY1RRuBynErqa4dX/Gc9SVO5XT/Sj9PhyCtnd8c/hf9BRXwh9iqhgLr+RD7tXAm5nfnZ4N97gWc/OknzRfLv28B/IeXN0WH2/1f4xl5yJiweuDNV11olElKy4+0GRIKzjAc4eEDN/ncMN6B3yq6dcwDjONSo4E6vNYSNN9OCNRrOAQg8j8zZHoCAkfnenbGgJ/+vQT6SEgDGc5vx7wv/d3LaAQ5hkmvfRNT5JjpenoE1AOTrjE2XtT16txfGzVVT23JpdGwH52+LUl/tpcuGq03sN0w0Gw65m3fh4N51+QKCAQEA8eaRTfSM/USdoEcCR9Fhf8cVT2MpntKdYGP60pI93FhwgEZteAT+RGcxHqy5c2CqfYVEMfRpw6GzScFzUZJRFUQaHJCfocw8e0G9bsLJVgq8U0fHSlEzYJnuUF28BrbtGiKMSMgaTfcVxl9fZ1DEXCJkLwttp5NDK7b5pHcC0k7agdr31NB36kmWariTFpUz/do3ZEFIUct7EWLM0D4VRPsRQBJAL/AP2bUPKAcpv+utZs4Th3rkP9P3Rr9UWEfRR1mAUQ4MsNEuEG2SqAMBZVUOCUlvH6AIquzf2rjSVk/Vb5mZkk4xPSzIYyFnSf8/snzXLfNya/E5FSlKkfOHxQKCAQEA8Wnd5J2+x2qOES/z32iY1JwV07/JytHUnkPm+Zytun3S2gmDSP4oIOY8WcpuNT+/N+ra0DmcH97nRzzrxpADiUf3t06oAZfd8OJd2Rk13YRuRYckV9GUL2olGjOH0EuK/wBYgb/jN1HyX8feh7GjNBuhpmyMO3AyP6Ff2H5NqEl53Xz7C2TKB5xpQkFjjwDcWnMsyUPiXsreNoNziuuKK2yoWDznntGYjhPgjfolBZolZhih8dsvCB8i2GYGUSD0nuXB39U9Ct7eHDMVyY2CrIYaGkbdhqvwUlUyqpm2PREQb0RyFbNQXsbstWuFL66hxcUmbGHeU4nLJ2C1I87k9wKCAQAEw+D64yVf29krDhsKZSKBjN9rl+169nUpL+8B9OWJEKjurfR8F8UWfd3m18ozbqUNIfHs9f6bXvUUL95grfww6g2FoIe0fTx3xRzBMM8chcud7F0NprnXXlDmfmI006eqCyIuUNrLzGE+biSH+XxUwEyu7I+1bF43XzxdtAZ3NBxz0GdvZsfl8psm8QncuQW0K3dJ30tYaSS8e/DC7WYn3LZDR9jB2P3G8R0iUbnN0Quyab7SvWX/p+JIH36+2nNR735qmlc/qG863Z2095Iwd9N19V9eBR4Gl/H08g0arCntL95plma76MTtxvus5n1Pu8vVWOVZIQBZ3V1dsKltAoIBAQDJXIyAjDL9Epu9Kko4Jn6TmD18iZQ/YBYAjJKz0UP3McwVoamn0JaYGnJsUrTqJWnRskshM2xOCRbQDLh8vtK0RxsQAsOP0KSGr8mns6eCRVvVEov11BHOGrMnz6OQ0fH2EMvCLdPP6MJJseSjOj/uzr1em1u8mDDRckEHyxHrNJ45aG3daww4nPYPFYt9VDJ4H2lT1xOSDZSb07kkPqLY5aDlOKfZiOm+WEYNJoCK07AuII2ztibcl1vxM+hA80QW5X14vdxUnOCWlOWvYCGG1bQgBsvv8KpbgkTol52yAfG7XVPrVc3LwBDgofZNd1PoKjGKZXeUJnMVPUzZuVCxAoIBAQDoYdDi/YrXUIcC+wy/26JWJo60jMjUC8Y2ty8tOOVo1Pdcl+8a3GDkhIbEEvtf4viaG7lnXdKTq+QytnKr11I+zVj3iEhpkw5Llq2ewPKs5Qqi0+iLF0gwFU+FUijdfKVXe+omKcxYJ5KJ5haBcCBspcTsJH9qPFeRxjzjUgUWGb3JLj6bNNHypg5tDPcr0NhAQgM0wfvHaQf4afx6cPOj7LunhjRBqEs6X07UguJnWY4LR+mgFz2UrDj/wi9NbJzRFNjwGEFVc1VKu4RJ+XIxvSDKDbhcHWwp0RnzDazQGEO2EdnIeKYi/Zpz9Ybos8ljejIkILAdqiPE+1syUlHn
  -----END RSA PRIVATE KEY-----

## Slide 100: L7 HTTPS VIP - with HTTPS Client Authentication (2/5)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP and requests for client certificate
  Create the HTTPS Application Profile
    Under "Edge – Manage / Load Balancer / Application Profiles"

## Slide 101: L7 HTTPS VIP - with HTTPS Client Authentication (3/5)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP and requests for client certificate
  Create the Virtual Server
    Under "Edge – Manage / Load Balancer / Virtual Servers"
Technical Note:
The pool selected is composed of HTTP servers (if Enable Pool Side SSL is disabled in the Application Profile)
or HTTPS servers (if Enable Pool Side SSL is enabled in the Application Profile)

## Slide 102: L7 HTTPS VIP - with HTTPS Client Authentication (4/5)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP and requests for client certificate
  On the browser accessing the VIP
    Import a client certificate signed by the root CA
      Note: I can't attach a file to powerpoint. In the notes you'll find the cert/key and you can convert them to pfx file on https://www.sslshopper.com/ssl-converter.html
      And you can import it on your browser.
Notes: client.crt
-----BEGIN CERTIFICATE-----MIIFKjCCAxICAQEwDQYJKoZIhvcNAQEFBQAwVzELMAkGA1UEBhMCRlIxEzARBgNVBAgMClNvbWUtU3RhdGUxITAfBgNVBAoMGEludGVybmV0IFdpZGdpdHMgUHR5IEx0ZDEQMA4GA1UEAwwHRGltaS1DQTAeFw0xNTAxMjkwNzQ3MTJaFw0yNTAxMjYwNzQ3MTJaMF8xCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQKDBhJbnRlcm5ldCBXaWRnaXRzIFB0eSBMdGQxGDAWBgNVBAMMD0RpbWl0cmkgRGVzbWlkdDCCAiIwDQYJKoZIhvcNAQEBBQADggIPADCCAgoCggIBALffY4au68oyIBZXni95m0brCyVRyg+GQw2LMRLr1w/xlw9/EmGa11Uw7o6RnYH6GM6I3pvmPxnhFlmKF/qfaP4pHVazNgY3nxKlqMkBfraE1Nw8dlw2p2P/07bf7sIQlhXERwhZEqcLsVeWb6b/dCb8jlFbdGHlbRloaRvd2sxVF05TYuZ+bkBdFfwojPcYd/VBrGAL1s+y6/yeym5CnLtXs7/lVPKF2bG/6SIvQe8RMAvlxsw9BRmcuDl08UJlB3Uf9nNmM2z1En1VZn6ULKK6gF4R6aOdvLO8KMrLJSpDfknD2LWUfxc2A1raYZcSIF411N3ADxJmo9pb/BCIYup9I6kdzkRHoch+hgzBXBQ7SI0FssCBfZRvQ8HjaezNK52fiYpQZIY90e4Ql11/sNeC6BdQEke8abL2ow96URGYFfgMmIviIlpxARCfd8cVfwGVdeej5K3pZddABDBwkvjcL+ZcLfR38fhLeznXz4aqYtSbSESeipMhUafPTWb/XQxH3MkxRiLdyTlcYqJH7EIB/9sPmRUOmIwML//Dr4lyAQNXCkfr5MaEuUraazoQ+AK0JCVuncjRz1KGC4iqvMbcx50rBayeYThu5SQkYXkICr3qybTg2KBmjBhmc1QBQW+sWbkCxR4FIbQuabgBPREyGuVmdApeKFS2I8B6wDDzAgMBAAEwDQYJKoZIhvcNAQEFBQADggIBAMDmS6Ap8dV9cydBugw5Aqq28nx9nS4SAGHZCKK0J98cv0g+fbOtWkzYUNhfmxN+LMFOPk2Z+UYkI9ADYPOvypvmnZ70ZjeDfG7l41sfQqoz8YTLXUnKh9d/7455X2gF3xZp4yze5kc+fmN0RNeItSMVe0HzifwzsrvFCzR7nlarjEeMfILjLw6BwBUi/kil9W2ud89vKM37am4R0Cgkc1ct3p9wt0XaS2xkL+JqCDdjLvPV+hxF/Fx6RzY5QWAj1LOH29MKdbNi9yAiax73KHuPqnlQifWqStM57F5x8H8qj7SOlHcbQETnvcGyEDJ+l8mJ3u8Vp1U2ponomUoi9wihSltbKZOO7/76dhQc6T8nEpyJcddlX09rS6HEyWTbSs6G6WwOPJwHcS2w0FcQIzFV5GAvKB3Sgcfr3T8x9x/fILzwkou44mrIeu0iGqsRze5JTZ7AwxU0OEE8eMm7wTnApnh1Oxi7QJaXBJMJoRjMnK5BQKjvo/SrlRCX7DMyLh8VwUrGf4wFFP9rYfNIkzoktyckuHmtP42JQ7pQ+/pskXFMAJlAJN80nXmUUSHSPzobhuFrsd3rm7THQdb3ajIyu8XsP0QqqYnG3xB6KviXdElPrwUdhodFN5pkZmCun3XerW1PoY95BZuwLvfoAbwWKSnoCN55uEvDxLVq0vO0
-----END CERTIFICATE-----
client.key
-----BEGIN RSA PRIVATE KEY-----MIIJKAIBAAKCAgEAt99jhq7ryjIgFleeL3mbRusLJVHKD4ZDDYsxEuvXD/GXD38SYZrXVTDujpGdgfoYzojem+Y/GeEWWYoX+p9o/ikdVrM2BjefEqWoyQF+toTU3Dx2XDanY//Ttt/uwhCWFcRHCFkSpwuxV5Zvpv90JvyOUVt0YeVtGWhpG93azFUXTlNi5n5uQF0V/CiM9xh39UGsYAvWz7Lr/J7KbkKcu1ezv+VU8oXZsb/pIi9B7xEwC+XGzD0FGZy4OXTxQmUHdR/2c2YzbPUSfVVmfpQsorqAXhHpo528s7woysslKkN+ScPYtZR/FzYDWtphlxIgXjXU3cAPEmaj2lv8EIhi6n0jqR3OREehyH6GDMFcFDtIjQWywIF9lG9DweNp7M0rnZ+JilBkhj3R7hCXXX+w14LoF1ASR7xpsvajD3pREZgV+AyYi+IiWnEBEJ93xxV/AZV156Pkrell10AEMHCS+Nwv5lwt9Hfx+Et7OdfPhqpi1JtIRJ6KkyFRp89NZv9dDEfcyTFGIt3JOVxiokfsQgH/2w+ZFQ6YjAwv/8OviXIBA1cKR+vkxoS5StprOhD4ArQkJW6dyNHPUoYLiKq8xtzHnSsFrJ5hOG7lJCRheQgKverJtODYoGaMGGZzVAFBb6xZuQLFHgUhtC5puAE9ETIa5WZ0Cl4oVLYjwHrAMPMCAwEAAQKCAgA0tCpR85eQaFe8L7cewouYg0y5kL0LQB++JRSW6NTHNCdpgLHjGj/4okLuyJxOIkK0CJVOOGwD3fnLBoMjCkhM+bn4HPwyQgUtkiBUJUKNzHs6+XWvrtbCGhU0SPGl3J04df8qTGXFTduyUGOGiZhgiGm+tikg2mMwMjZWj3vkr8szX0Fs8fZmKohfs7vcI75WpVFkYmBbPlzYFyfM/Pjx1gymx3RW47jncyu+6a7LeLC96EnYRvFMSxifF38D2fOORfAdWcEJzSFUnYL4az50EmMzE41VoaPyHM/QePQZLilnuWRHf94B6DCD/S6V39M5TdLLEP8A9jynHVCd6In5Ui54QcroZ9fn9/saecDW9yGEfypjaiMKJiz4kO77UYdldGLF3sLOqYCyMz4Nqo6jWcczdnpOZwmUy9fVHv5a+siWfI9uYj+5Rg9kb6taIhmR9ior1kvx6mhrJqtvOWOnOc65NbMuTMMvmeagdUji7SwqrGpuakOpQx7Df/CAFoihaEMEn39N/KmWXOTxoXcD6GH0QjQv6oAEOznYtWNl3F0+LgDlpjbyrwcqt+SfTirekrGdhiWa7+VEnJytmC9IUWw3sxlo8BAEK8arrdi79TpBEJ5w307IM42lzt2xhDjxoAyf1heB0mot8RNKsBGQLgdumtHtXZrh27mCKTXS0QKCAQEA2eka7V8bAmlREdHuVsTIdLrd9ltvpNuDAIWppYm7lgsykQQm53Xem4+nwc2Vrd4FOmXe+xbNm5rBvj3vskDoeexPRMMEiEifDsNvDHf25TxNCQIDX6CfZ+86OVceCEUB9vPuVv6Sa4BEQPXX7ckD/0LtIJhD8BgAlPbRLNLYB3X+newjF6F+U4cTG+bdM0YCmLQKCGho0xtfxEtJe6cRYQwTPDOIqSUHN3wz/Gw+l/g01rRTRp2TcWxC/fWUN0r8W03RPIuT8jgikjfIVsZb6wnWGZG3Iho7UIVFRP9V3Z9+rY//abWnYUW50HunWHm+CpvkJr3aiSjT5lbkFbUaCQKCAQEA2AMt55BJtUrI8r8fugKUIGHHoqWEuPL1mftzdFpEemzQ/xBcspvqAtW7haoOWWq7mcqiqUKoPYJJod3JOC/cBd6+OpiA9r87crG08Ej77YrdN8fhXwU3Lh/Ly7o5abI+ZQ0MOYLJJPe+B3cb8yNGqf4DhHwKs7vwF9YDM7KVFjp78TVHzT8DTxQIQ5Kk2FnNw0vxramT7KqHv3okjhs0N1hcD8kcPgoMRbtQeLH7ZMzhWF8YtgrnvsVdig7PoVhMzltnnL+8Ao/dIcXT/n9GTBy+S3e434YF4IMQuMU5MKQVQloIRo1tX8m2NdjdAS1mpdF/4Da4/VHSrgn4TvdiGwKCAQAG4tXmAGZjGh7kuESW21sWTT1sZpFNnV4zawXkZEjYQfxUFtR/5fql4dFET5HWT7jMkqGMP7k5nJdYwq5LbL+r8qrCmoMPJ3RXTBe7RiM4NUKd8UFYCURgTXACld0uF7grLKQwfZT07rW5c8tiCUMmEuBZclZbRPbnvjD4AKWw/qqQJQEq4wCR9SfGbvI4h5LXboEOqPX/DdNl6Zcl4C6taWtGML610aS7vSILbQRBWyeYTVSAW8RoBirLybHoWWdGH1xoVGTVd66n/jlHfLc04zev0Sn/WuLa9Yst1f/JpBulsnI4zfO/ICvyCaZNJnO59BkunDtGsFKZ6c8FXJa5AoIBAQDN+CobNO+zV/3HyQndeXv4bIPIyH6HQ9N/4c2y0iedfIjDzLw26of18AqAZyiLhkQfXqI/NnnpPIQtPacSVkA7sKo+gQ/nN2zd7iiTPWRKmjBZcdOpoPV+m37dYVJBQF5SSGCxrc1R3JBr2dzit243xSdhek1SGA/VCpG/B7c0nMt1sdInGMB09Kr0k61vRiH26EEn0BxmfCw4HaUhgzsE0tHlk2PEnBwbmYIfs8X71YfBldugKUHUG6kXbQv50pJZ6bogMop4/uhhvZpofr9u77FbkGrNZ6PO8epN5HCluq8yt1pQu6XgwhtluMTyzHGmBt8h0cwOb6itnoAP+76lAoIBAFU2uCKR7QswvLnzM15Kpny9V8tUw4g87vkHeL9Yd1jCix7fsYWlxwjGNmDcGhSqEPGyoeR5UaQY4bDXgtrR1KXBNUFBoseLfd9OUiZw0H77patKjt8mpbIqu1no50FDxN92PfjR5wPrbiVvqKlR8p1LDGKhHvJfkBM2Yavzhrxf3sL2P97LoeZNB0d8rShD1YANCGiJ7PNuOib8bWj+EP4OIg6PfvRIapAr7WV/5lVC7DPeI7f8+QT9ZNXQGhRnIsF7KomicBeQaY7Q9u1yqfWUMlEyUTf87hKut7Glnb5vO/PikGGG/3XHysbpAic2sRoGxn9OjL/oyp/4vSG2O0k=
-----END RSA PRIVATE KEY-----
Dimi-CA.crt
-----BEGIN CERTIFICATE-----MIIFgTCCA2mgAwIBAgIJAP0MXOQV1tJnMA0GCSqGSIb3DQEBBQUAMFcxCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQKDBhJbnRlcm5ldCBXaWRnaXRzIFB0eSBMdGQxEDAOBgNVBAMMB0RpbWktQ0EwHhcNMTUwMTI5MDc0NDM4WhcNMjUwMTI2MDc0NDM4WjBXMQswCQYDVQQGEwJGUjETMBEGA1UECAwKU29tZS1TdGF0ZTEhMB8GA1UECgwYSW50ZXJuZXQgV2lkZ2l0cyBQdHkgTHRkMRAwDgYDVQQDDAdEaW1pLUNBMIICIjANBgkqhkiG9w0BAQEFAAOCAg8AMIICCgKCAgEA1FY+XazPOGxY8V+Ne8YR54SAgLOXO3M5J3M2k/9bm3JCme+GxvjeoAl/8rPbrYlTqFkqsM2MVv50O1ykLFwfzvL1C+gprRaQbOQIN2y6y/usjunQq/WfVpDvGOMoagU8/JJtY364i3aZBio26wXDiK5JqWeNfSNFaR8usLUxdqicG3lppTbvwzxlK7QC4+X5BBBukOvXB2T/qTfjjHIvcAbyfg3Iv+8TsIfE/EwhgtGgg8I4rXoqfh4BK2aYpCIM4oNVy28CWF5+6RhXHg21fioyNHNIxp+QYjxGACzBbIdDcPvb0K+neA/gEinq9Mk9BiihxbziLJosgCpiRFQiPSYzYit0eScLNsp/A+b9Jqyvm7CccTvwBRcRTF1sDybwYxWlcNUJ25e9VE9GW+8C8wn13o/BfoG4UWk9v10KIyLaTjQKSsPFDqScYDPgxhHQshbHzblmrg/4wby4wqJktolLI0/Su1RQBOwXEKP5AKSsvD1zfI5KadU1pbjYkZxjbKqkRI+dpjetQspSGYg8EqHsorPd1hle1DvcQugIxXTRXTkcPbtNttxprku4UMXDs7vKlrGGvSbE0O4a04OOpr7EsKCFYueH/MAypRvw+tDO0zy0jILiUcDXABMfLqkBVQJoWWqp8TKtDc7J0LY/BMs57aKMRU/RZi4RDCD6+VcCAwEAAaNQME4wHQYDVR0OBBYEFI3Y/TwGaSUMr7Qlq9xFkZq6MlgsMB8GA1UdIwQYMBaAFI3Y/TwGaSUMr7Qlq9xFkZq6MlgsMAwGA1UdEwQFMAMBAf8wDQYJKoZIhvcNAQEFBQADggIBAFyLa4NQJZDRH3zCQabOSzKvv74RYyNEafysEuX46TUOywi0+RaMSZSgxUOXt1R0mH4OA+CAmnq6U9heofCGQw1YcoDraGVcqVNu0hm0eUFL/066ckk87Cn7NEIBNo0VqegGP+3hAVGNz5CYgiJU93mMKEB1BcxL9aaIAMUlCoeOl1/HtfL1CHRivo//ZLlClhlTIWNG4JMN4Cb71CFNTbQxTxs15vzZl6PMixUWQPJyXZ26LLnEI0FsqZll6mgjVjbNFbdqbQcnWtoODpk0J69E6Y5B6QmKWcB+F1tQhTYW2R3omMK1/16h+vhrbcemySJHO0Mf+WQ0Rqsx0ieawgNhWEswgStotSl3428jaayZ+xvTCjTa9dV2qCYk0EtyTivzJ9WaCfug62qVsnVG+qqmKOBEOHXgZVNVg2xUqKvbdyqqAZvpz7LvUeOpsK07LGddgo7/i7x6zANzJuD23PYJWi1kMv36PS5SFN7VjtMikdF+VZRgVpNZHqExjpNBLNKKyQExCSQorES+nhN1jeacWQMGS9KgzKd7QnBwjf38GzqhvJZbYXGABM0sC1VqTpx+AauNh/QFf02ycb9hsu6yNoUNCWw2uJErxVK1xqLIevA/CVLqiF3rBrJJrwKPiiRSn27ddVOJdjkQ3rCRtHcMO+axQOB0dB/Vg3DX48X8
-----END CERTIFICATE-----

## Slide 103: L7 HTTPS VIP - with HTTPS Client Authentication (5/5)
Use Case: Clients access the web application via HTTPS. HTTPS is terminated on the Edge VIP and requests for client certificate
  Optionally – Create an Apprule to forward the Client certificate information to the Backend Server via an HTTP header
    Create the following AppRule
    and Associate to the VIP
Note:
More information on how to test/validate in the Notes
Notes: Application Rule:
  http-request set-header x-forwarded-client-cert %[ssl_c_der,base64]
  http-request set-header X-SSL-Client-DN %[ssl_c_s_dn]
  http-request set-header X-SSL-Client-CN %[ssl_c_s_dn(cn)]
  http-request set-header X-SSL-Issuer %[ssl_c_i_dn]
Client using curl command:
  curl -v -I -k --cacert Dimi-CA.crt --key client.key --cert client.crt --resolve www.dimi.fr:443:192.168.1.106 https://www.dimi.fr:443/test.php
Server validation:
  tcpdump -vvv -l port 80 -n
And you can see in the tcpdump output:
  07:56:26.467786 IP (tos 0x0, ttl 63, id 24249, offset 0, flags [DF], proto TCP (6), length 2130)
  172.16.1.3.11113 > 10.101.1.11.80: Flags [P.], cksum 0x33e3 (correct), seq 1:2091, ack 1, win 1825, length 2090: HTTP, length: 2090
  GET /test.php HTTP/1.1
  Host: 192.168.1.106
  User-Agent: curl/7.47.0
  Accept: */*
  x-forwarded-client-cert: MIIFKjCCAxICAQEwDQYJKoZIhvcNAQEFBQAwVzELMAkGA1UEBhMCRlIxEzARBgNVBAgMClNvbWUtU3RhdGUxITAfBgNVBAoMGEludGVybmV0IFdpZGdpdHMgUHR5IEx0ZDEQMA4GA1UEAwwHRGltaS1DQTAeFw0xNTAxMjkwNzQ3MTJaFw0yNTAxMjYwNzQ3MTJaMF8xCzAJBgNVBAYTAkZSMRMwEQYDVQQIDApTb21lLVN0YXRlMSEwHwYDVQQKDBhJbnRlcm5ldCBXaWRnaXRzIFB0eSBMdGQxGDAWBgNVBAMMD0RpbWl0cmkgRGVzbWlkdDCCAiIwDQYJKoZIhvcNAQEBBQADggIPADCCAgoCggIBALffY4au68oyIBZXni95m0brCyVRyg+GQw2LMRLr1w/xlw9/EmGa11Uw7o6RnYH6GM6I3pvmPxnhFlmKF/qfaP4pHVazNgY3nxKlqMkBfraE1Nw8dlw2p2P/07bf7sIQlhXERwhZEqcLsVeWb6b/dCb8jlFbdGHlbRloaRvd2sxVF05TYuZ+bkBdFfwojPcYd/VBrGAL1s+y6/yeym5CnLtXs7/lVPKF2bG/6SIvQe8RMAvlxsw9BRmcuDl08UJlB3Uf9nNmM2z1En1VZn6ULKK6gF4R6aOdvLO8KMrLJSpDfknD2LWUfxc2A1raYZcSIF411N3ADxJmo9pb/BCIYup9I6kdzkRHoch+hgzBXBQ7SI0FssCBfZRvQ8HjaezNK52fiYpQZIY90e4Ql11/sNeC6BdQEke8abL2ow96URGYFfgMmIviIlpxARCfd8cVfwGVdeej5K3pZddABDBwkvjcL+ZcLfR38fhLeznXz4aqYtSbSESeipMhUafPTWb/XQxH3MkxRiLdyTlcYqJH7EIB/9sPmRUOmIwML//Dr4lyAQNXCkfr5MaEuUraazoQ+AK0JCVuncjRz1KGC4iqvMbcx50rBayeYThu5SQkYXkICr3qybTg2KBmjBhmc1QBQW+sWbkCxR4FIbQuabgBPREyGuVmdApeKFS2I8B6wDDzAgMBAAEwDQYJKoZIhvcNAQEFBQADggIBAMDmS6Ap8dV9cydBugw5Aqq28nx9nS4SAGHZCKK0J98cv0g+fbOtWkzYUNhfmxN+LMFOPk2Z+UYkI9ADYPOvypvmnZ70ZjeDfG7l41sfQqoz8YTLXUnKh9d/7455X2gF3xZp4yze5kc+fmN0RNeItSMVe0HzifwzsrvFCzR7nlarjEeMfILjLw6BwBUi/kil9W2ud89vKM37am4R0Cgkc1ct3p9wt0XaS2xkL+JqCDdjLvPV+hxF/Fx6RzY5QWAj1LOH29MKdbNi9yAiax73KHuPqnlQifWqStM57F5x8H8qj7SOlHcbQETnvcGyEDJ+l8mJ3u8Vp1U2ponomUoi9wihSltbKZOO7/76dhQc6T8nEpyJcddlX09rS6HEyWTbSs6G6WwOPJwHcS2w0FcQIzFV5GAvKB3Sgcfr3T8x9x/fILzwkou44mrIeu0iGqsRze5JTZ7AwxU0OEE8eMm7wTnApnh1Oxi7QJaXBJMJoRjMnK5BQKjvo/SrlRCX7DMyLh8VwUrGf4wFFP9rYfNIkzoktyckuHmtP42JQ7pQ+/pskXFMAJlAJN80nXmUUSHSPzobhuFrsd3rm7THQdb3ajIyu8XsP0QqqYnG3xB6KviXdElPrwUdhodFN5pkZmCun3XerW1PoY95BZuwLvfoAbwWKSnoCN55uEvDxLVq0vO0
  X-SSL-Client-DN: /C=FR/ST=Some-State/O=Internet Widgits Pty Ltd/CN=Dimitri Desmidt
  X-SSL-Client-CN: Dimitri Desmidt
  X-SSL-Issuer: /C=FR/ST=Some-State/O=Internet Widgits Pty Ltd/CN=Dimi-CA
  Connection: close

## Slide 104: L7 HTTPS VIP (passthrough) – Redirect to specific HTTPS pool based on SNI (1/2)
Use Case: Clients access different web application via HTTPS (app1.dimi.fr and app2.dimi.fr) and
  Both apps DNS resolution points to the same NSX-LB VIP1
  VIP1 does not terminate SSL (VIP HTTPS-Passtrough)
  VIP1 sends https://app1.dimi.fr requests to pool1 and https://app2.dimi.fr requests to poo2
  Note: Use case detailed in the blog: https://vxsan.com/multi-backend-ssl-passthrough-loadbalancing-with-nsx/
Configure Application Profile HTTPS-Passthrough
  See above "L7 HTTPS VIP - with HTTPS passthrough"
Configure 2 pools "Pool-App1" and "Pool-App2"
  Attention the pool members listen on HTTPS (VIP is SSL-Passthrough)

## Slide 105: L7 HTTPS VIP (passthrough) – Redirect to specific HTTPS pool based on SNI (2/2)
Configure following AppRule
    # Wait for a client hello for at most 5 seconds
    tcp-request inspect-delay 5s
    # Checking if the SSL-Handshake is with SNI support
    tcp-request content accept if { req_ssl_hello_type 1 }
    # Use specific pool based on Client Hello SNI server name
    use_backend pool_S1 if { req_ssl_sni -i app1.dimi.fr }
    use_backend pool_S2 if { req_ssl_sni -i app2.dimi.fr }
    # If none are matching, it will use the default pool of the VIP
  Note: Quick validation with curl
    root@Lab1SSHJumpHost:~# curl -k --resolve app1.dimi.fr:443:20.20.20.22 https://app1.dimi.fr:443/test.php
    The Client IP@ is: 172.16.2.22<br>
    The Server IP@ is: 10.0.1.11
This is a test page on the server displaying its IP@

## Slide 106: Backup
LB Configurations
LB configuration for specific applications
Log format
API calls examples
Deep Troubleshooting

## Slide 107: LB configuration for specific applications
Horizon View
vRA
PSC 6.0

## Slide 108: Horizon View – EUC (1/1)
A full EUC Design Guide is available on NSX Communities:
  https://communities.vmware.com/docs/DOC-31982

## Slide 109: vRA (1/1)
NSX Load Balancing configuration detailed in Confluence
  https://confluence.eng.vmware.com/pages/viewpage.action?title=Configuration+Guide+for+Load+Balancing+vRealize+Automation&spaceKey=CSE

## Slide 110: PSC 6.0 (1/1)
NSX Load Balancing configuration detailed in VMware Blog
  https://blogs.vmware.com/consulting/2015/11/configuring-nsx-v-load-balancer-for-use-with-vsphere-platform-services-controller-psc-6-0.html
Attention: This required PSC 6.0 U1.

## Slide 111: Backup
LB Configurations
LB configuration for specific applications
Log format
API calls examples
Deep Troubleshooting

## Slide 112: Log Format configuration
Enable LOG for load balancing
  Under "Edge – Manage / Load Balancer / Global Configuration“
      Note: "Debug" and "Info" are the 2 options that will log all the end-user requests. "Warning", "Error", and "Critical" do not log end-users requests.
    The logs
      are exported to the syslog server configured on the Edge ("Edge – Manage / Settings / Configuration / Syslog servers)
      or can be quickly seen from the Edge via "show log follow"

## Slide 113: Log Format for HTTP/HTTPS VIP using L7 Engine
Log example:
  Note: Log entry created when server replies to the request.
  2014-02-17T21:31:04.000+00:00 loadbalancer [default]: 192.168.11.4 - - [17/Feb/2014:21:31:04 +0000] "GET / HTTP/1.1" 200 486 "" "" 39866 433 "Vip-Web-IPv4_4" "web-IPv4" "Web2-IPv4" 0 0 1 2 4 ---- 0 0 0 0 0 0 0 "" ""
L7 engine: loadbalancer [default]
Client-IP@: 192.168.11.4
date / time: [17/Feb/2014:21:31:04 +0000]
Client request method + URL: GET / HTTP/1.1
Server response code: 200
Server response size: 486
Client sce port: 39866
Server response time: accept date milisecond
Name VIP Accessed / Pool used / Server selected: Vip-Web-IPv4_4 / web-IPv4 / Web2-IPv4
Tq / Tw / Tc / Tr / Tt : 0 0 1 2 4 (see notes for more info)
tsc: ---- (see notes for more info)
ac / fc / bc / sc / rc / sq / bq: 0 0 0 0 0 0 0 (see notes for more info)
cc / cs: "" "" (see notes for more info)
Notes: "Tq" is the total time in milliseconds spent waiting for the client to send a full HTTP request, not counting data.
"Tw" is the total time in milliseconds spent waiting in the various queues. It can be "-1" if the connection was aborted before reaching the queue.
"Tc" is the total time in milliseconds spent waiting for the connection to establish to the final server, including retries. It can be "-1" if the connection was aborted before a connection could be established.
"Tr" is the total time in milliseconds spent waiting for the server to send a full HTTP response, not counting data.
"Tt" is the total time in milliseconds elapsed between the accept and the last close. It covers all possible processings.
"tsc" is the termination_state with cookie status
"ac" is the total number of concurrent connections on the process when the session was logged.
"fc" is the total number of concurrent connections on the frontend whenthe session was logged.
"bc" is the total number of concurrent connections handled by the backend when the session was logged. It includes the total number of concurrent connections active on servers as well as the number of connections pending in queues.
"sc" is the total number of concurrent connections still active on the server when the session was logged.
"rc" is the number of connection retries experienced by this session when trying to connect to the server. It must normally be zero, unless a server is being stopped at the same moment the connection was attempted.
"sq" is the total number of requests which were processed before this one in the server queue. It is zero when the request has not gone through the server queue.
"bq" is the total number of requests which were processed before this one in the backend's global queue. It is zero when the request has not gone through the global queue.
"cc" is an optional "name=value" entry indicating that the client had this cookie in the request. The cookie name and its maximum length are defined by the "capture cookie" statement (need an Application Rule "capture cookie [cookie_name] len 32").
"cs" is an optional "name=value" entry indicating that the server has returned a cookie with its response. The cookie name and its maximum length are defined by the "capture cookie" statement (need an Application Rule "capture cookie [cookie_name] len 32").

## Slide 114: Log Format for TCP VIP using L7 Engine
Log example:
  Note: Log entry created when session is closed.
  2014-02-17T21:42:27.000+00:00 loadbalancer [default]: 192.168.11.4:59900 [17/Feb/2014:21:41:50.637] VIP-SSH SSH-v4/Web1 1/1/36687 5289 -- 0/0/0/0/0 0/0
L7 engine: loadbalancer [default]
Client-IP@ and port: 192.168.11.4:59900
date / time: [17/Feb/2014:21:41:50.637]
Name VIP Accessed: VIP-SSH SSH
Pool used: SSH-v4
Server selected: Web1
Tw / Tc / Tt: 1/1/36687 (see notes for more info)
Bytes transmitted from the server: 5289
actconn / feconn / beconn / srv_conn / retries: 0/0/0/0/0 (see notes for more info)
srv_queue / backend_queue: 0/0 (see notes for more info)
Notes: "Tw" is the total time in milliseconds spent waiting in the various queues. It can be "-1" if the connection was aborted before reaching the queue.
"Tc" is the total time in milliseconds spent waiting for the connection to establish to the final server, including retries. It can be "-1" if the connection was aborted before a connection could be established.
"Tt" is the total time in milliseconds elapsed between the accept and the last close. It covers all possible processings.
"actconn" is the total number of concurrent connections on the process when the session was logged.
"feconn" is the total number of concurrent connections on the frontend whenthe session was logged.
"beconn" is the total number of concurrent connections handled by the backend when the session was logged. It includes the total number of concurrent connections active on servers as well as the number of connections pending in queues.
"srv_conn" is the total number of concurrent connections still active on the server when the session was logged.
"retries" is the number of connection retries experienced by this session when trying to connect to the server. It must normally be zero, unless a server is being stopped at the same moment the connection was attempted.
"srv_queue" is the total number of requests which were processed before this one in the server queue.
"backend_queue" is the total number of requests which were processed before this one in the backend's global queue.

## Slide 115: Log Format for TCP VIP using L4 Engine
Log example:
  Note: Log entries are only created in Proxy mode. If transparent mode is selected, no log entries are created
  Note: Log entry created when session is started.
  2016-04-06T15:51:38+00:00 NSX-edge-4-0 nat[]: [default]: [kern.warning] SNAT_LB_IN= OUT=vNic_1 SRC=20.20.20.199 DST=10.1.1.11 LEN=60 TOS=0x00 PREC=0x00 TTL=64 ID=15404 DF PROTO=TCP SPT=44455 DPT=80 WINDOW=29200 RES=0x00 SYN URGP=0
L4 engine: nat [default]
Interface used for the SNAT (interface going out to the servers): SNAT_LB_IN= OUT=vNic_1
Client-IP@ and to what server it has been load balanced: SRC=20.20.20.199 DST=10.0.1.11
Length of the IP packet, its QoS, its Precedence, its TTL : LEN=60 TOS=0x00 PREC=0x00 TTL=64
The id of the IP packet: ID=15404
Fragment Flag ("CE" (congestion), "DF" (don't fragment), or "MF" (more fragments are coming)): DF
Protocol, Client Sce port , Server Dest port , Window size, Reserved bits, Flag, Urgent pointer: PROTO=TCP SPT=44455 DPT=80 WINDOW=29200 RES=0x00 SYN URGP=0

## Slide 116: Backup
LB Configurations
LB configuration for specific applications
Log format
API calls examples
Deep Troubleshooting

## Slide 117: API examples
Create a LB pool
Update a LB pool
  Add new member
  Disable a member
More on VMware Google Drive here
  Note: requires a Google Drive VMware account.

## Slide 118: Quick note about doing API calls
API calls are sent to the NSX-Manager
API calls must have:
  HTTP header: "Content-Type: application/xml"
  Authentication basic
Example of tools to make API calls:
  Firefox plugin RESTClient
  Curl
    curl -k -u admin:vmware -H 'Content-Type: application/xml' https://10.114.218.167/api/4.0/edges/edge-5/loadbalancer/config/pools/pool-4

## Slide 119: Create a LB pool
  POST https://<NSX-Mgr>/api/4.0/edges/<edge-id>/loadbalancer/config/pools
    For instance:
    POST https://10.114.218.167/api/4.0/edges/edge-5/loadbalancer/config/pools
    with body
<pool> <name>Pool-web</name> <algorithm>round-robin</algorithm> <transparent>false</transparent> <monitorId>monitor-1</monitorId> <member> <ipAddress>10.0.1.11</ipAddress> <weight>1</weight> <monitorPort>80</monitorPort> <port>80</port> <maxConn>0</maxConn> <minConn>0</minConn> <condition>enabled</condition> <name>Web-01</name> </member> | <member> <ipAddress>10.0.1.12</ipAddress> <weight>1</weight> <monitorPort>80</monitorPort> <port>80</port> <maxConn>0</maxConn> <minConn>0</minConn> <condition>enabled</condition> <name>Web-02</name> </member> </pool>

## Slide 120: Update a LB pool - Add new member (1/2)
Step1: Get the pool configuration
  GET https://<NSX-Mgr>/api/4.0/edges/<edge-id>/loadbalancer/config/pools/<pool-id>
    For instance:
    GET https://10.114.218.167/api/4.0/edges/edge-5/loadbalancer/config/pools/pool-13
    And copy xml result (see an example in the Notes)
Notes: <pool>
<poolId>pool-13</poolId>
<name>pool_app3</name>
<algorithm>round-robin</algorithm>
<transparent>false</transparent>
<member>
<memberId>member-44</memberId>
<ipAddress>10.0.1.11</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>enabled</condition>
<name>Web-01</name>
</member>
<member>
<memberId>member-45</memberId>
<ipAddress>10.0.1.12</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>disabled</condition>
<name>Web-02</name>
</member>
</pool>

## Slide 121: Update a LB pool - Add new member (2/2)
Step2: Add new member to it
  PUT https://<NSX-Mgr>/api/4.0/edges/<edge-id>/loadbalancer/config/pools/<pool-id>
    For instance:
    PUT https://10.114.218.167/api/4.0/edges/edge-5/loadbalancer/config/pools/pool-13
    with body containing the new server at the end of the <member section> (see an example in the Notes)
  Technical Notes
    Don't configure a member id to that new member
      (NSX Manager will pick up automatically an used one)
    If Source-IP persistence is configured
      Do NOT change the order of the members and add the new member at the end.
      (source-ip persistence table is based on the entry # of the pool)
    The stats on the Pool will be flushed
    The existing sessions to old servers are NOT lost and remain active.
Notes: <pool>
<poolId>pool-13</poolId>
<name>pool_app3</name>
<algorithm>round-robin</algorithm>
<transparent>false</transparent>
<member>
<memberId>member-44</memberId>
<ipAddress>10.0.1.11</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>enabled</condition>
<name>Web-01</name>
</member>
<member>
<memberId>member-45</memberId>
<ipAddress>10.0.1.12</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>disabled</condition>
<name>Web-02</name>
</member>
<member>
<ipAddress>10.0.1.13</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>disabled</condition>
<name>Web-03</name>
</member>
/pool>

## Slide 122: Update a LB pool - Disable a member (1/2)
Step1: Get the pool configuration
  GET https://<NSX-Mgr>/api/4.0/edges/<edge-id>/loadbalancer/config/pools/<pool-id>
    For instance:
    GET https://10.114.218.167/api/4.0/edges/edge-5/loadbalancer/config/pools/pool-13
    And copy xml result (see an example in the Notes)
Notes: <pool>
<poolId>pool-13</poolId>
<name>pool_app3</name>
<algorithm>round-robin</algorithm>
<transparent>false</transparent>
<member>
<memberId>member-44</memberId>
<ipAddress>10.0.1.11</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>enabled</condition>
<name>Web-01</name>
</member>
<member>
<memberId>member-45</memberId>
<ipAddress>10.0.1.12</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>disabled</condition>
<name>Web-02</name>
</member>
</pool>

## Slide 123: Update a LB pool - Disable a member (2/2)
Step2: Disable a member
  PUT https://<NSX-Mgr>/api/4.0/edges/<edge-id>/loadbalancer/config/pools/<pool-id>
    For instance:
    PUT https://10.114.218.167/api/4.0/edges/edge-5/loadbalancer/config/pools/pool-13
    with body in the member section replace "<condition>enabled</condition>" by "<condition>disabled</condition>"(see an example in the Notes)
  Technical Notes
    If Source-IP persistence is configured
      Do NOT delete the member. Simply disable the member.
      (source-ip persistence table is based on the entry # of the pool)
    The stats on the Pool will be flushed
    The existing sessions to old servers (even the one just disabled) are NOT lost and remain active.
    New connections won't use the disabled server
      even if persistence says so (persistence will be updated after the next connection)
Notes: <pool>
<poolId>pool-13</poolId>
<name>pool_app3</name>
<algorithm>round-robin</algorithm>
<transparent>false</transparent>
<member>
<memberId>member-44</memberId>
<ipAddress>10.0.1.11</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>enabled</condition>
<name>Web-01</name>
</member>
<member>
<memberId>member-45</memberId>
<ipAddress>10.0.1.12</ipAddress>
<weight>1</weight>
<monitorPort>80</monitorPort>
<port>80</port>
<maxConn>0</maxConn>
<minConn>0</minConn>
<condition>disabled</condition>
<name>Web-02</name>
</member>
</pool>

## Slide 124: Backup
LB Configurations
LB configuration for specific applications
Log format
API calls examples
Deep Troubleshooting

## Slide 125: Check Configuration
REST API (xml format)
URL : /api/4.0/edges/{edgeId}/loadbalancer/config
CLI (json format)
    # show configuration loadbalancer
    # show configuration loadbalancer virtual [virtual-server-name]
    # show configuration loadbalancer pool [pool-name]
    # show configuration loadbalancer monitor [monitor-name]
    # show configuration loadbalancer profile [profile-name]
    # show configuration loadbalancer rule [rule-name]
LB configuration in Tech Support Logs (haproxy config file)
  Search for “haproxy.conf”

## Slide 126: Check Runtime (Connectivity)
Check 2 sides connectivity.
  Client to LB
  LB to backend server
  CLI
    #ping xxx
    #show arp
    #dnslookup xxx
    #traceroute xxx
Check flow table in CLI/Techsupport Log
  # show flowtable
Check firewall
  CLI: # show firewall
  Allow virtual server service.
  Don’t disable firewall when you are using load balancer L4 non-transparent mode

## Slide 127: Check Runtime (engine status)
CLI
  # show service loadbalancer
  # show service monitor

## Slide 128: Check Runtime (Health Check)
UI
  Manage->Load Balancer->Pools->Show Pool statistics
REST API (Get Member Statistics)
  URL : /api/4.0/edges/{edgeId}/loadbalancer/statistics
CLI
    # show service loadbalancer virtual [virtual-server-name]
    # show service loadbalancer pool [pool-name]
    # show service loadbalancer monitor [monitor-name]
    # show service monitor service [monitor-name]
    Note that: health check data is not real time, but will be
    stable finally. Sometimes you need to flush the CLI to
    get the final health check result.

## Slide 129: Check Runtime (System Events)
UI: Edge->Monitor->System Events
  Load balancer will report the health change of member via system events

## Slide 130: Check Runtime (session table)
CLI
  # show service loadbalancer session [l4/l7]

## Slide 131: Check Runtime (persistence stick table)
CLI – show sticky table
  #show service loadbalancer table [ipv4_ip_table | ipv6_ip_table]

## Slide 132: Check Runtime (Check Statistics)
REST API
  URL : /api/4.0/edges/{edgeId}/loadbalancer/statistics
CLI
  #show statistics loadbalancer pool pool-name
  #show statistics loadbalancer virtual virtualserver-name

## Slide 133: Check Runtime (Log) Log Format configuration
Enable LOG for load balancing
  Under "Edge – Manage / Load Balancer / Global Configuration“
      Note: "Debug" and "Info" are the 2 options that will log all the end-user requests. "Warning", "Error", and "Critical" do not log end-users requests.
    The logs
      are exported to the syslog server configured on the Edge ("Edge – Manage / Settings / Configuration / Syslog servers)
      or can be quickly seen from the Edge via "show log follow"

## Slide 134: Check Runtime (Packet Capture)
Sometimes you need to capture the packets to detect LB abnormal failure. It is suggested to capture packets from 2 directions.
  Capture the packets from client.
  Capture the packets sent to backend server.
CLI
  #debug packet capture interface interface-name [filter using _ for space]
  #debug packet display interface interface-name [filter using _ for space]
    For instance:
      Capture on vNIC_0 debug packet display interface vNic_0
      Capture on all interfaces debug packet display interface any
      Capture on vNic_0 with a filter debug packet display interface vNic_0 host_192.168.11.3_and_host_192.168.11.41
  #debug show files
  #debug copy scp user@url:path file-name/all

## Slide 135: Check Runtime (Performance)
CLI
  # show system cpu/memory/storage/network-stats/uptime
  # show process monitor
    For xlarge flavor, LB L7 engine is bound to CPU 4
    Use this monitor to view the CPU 4 usage when concurring L7 performance issue, such as when using SSL termination.
  # show service-monitor status
Throughput and concurrent connection monitoring
  NSX UI: Edge->Monitor->Statistics
Monitor edge cpu/memory/throughput
etc from vsphere client
  UI: vCenter->edge vm->monitor->Performance