## Slide 1
March 2023
Dimitri Desmidt - Senior TPM NSX
ddesmidt@vmware.com
NSX-T Physical Server 101 ToI

## Slide 2
1 | Topologies with Physical Servers
2 | NSX Services Supported with Physical Servers
3 | More information Preparation Installation Advanced + Troubleshooting

## Slide 3
1 | Topologies with Physical Servers
2 | NSX Services Supported with Physical Servers
3 | More information Preparation Installation Advanced + Troubleshooting

## Slide 4: Topologies with Physical Servers
NSX offers its services on Physical Servers connected to:
VLAN
Overlay
VLAN or Overlay
Physical Router
VLAN or Overlay
VLAN
Tier-0
Overlay
VLAN
VM
Tier-1
Overlay
VM
VM
VM
1
2
1
1
2
2

## Slide 5
1 | Topologies with Physical Servers
2 | NSX Services Supported with Physical Servers
3 | More information Preparation Installation Advanced + Troubleshooting

## Slide 6: NSX Services Supported with Physical Servers
Network Services:
  L2 VLAN
  L2 Overlay
  Distributed L3 (in case of L2-Overlay)
Security Services:
  DFW / Micro-Segmentation (L4 Stateful/Stateless FW)
  Time-Based Firewall
Operations:
  Traceflow
Note on other Network Services:
NSX central network services like LB, VPN, etc are offered by Edge Nodes and don’t apply to Physical Servers.
So those NSX central network services are available with or without Physical Servers in the topology.
Note on NSX Inventory Tags:
Dynamic Groups based on Physical Servers Tag is not currently supported.
As a workaround Dynamic Groups based on Segment-Ports Tag can be used.
Note on IDFW:
IDFW is not supported Physical Servers.
However, NSX can learn Physical Servers users using Log scrapping approach.
Then IDFW can be enforced for East/West traffic (Physical Server to VM) using DFW on VMs and for North/South by the gateway firewall Dynamic Groups based on Physical Servers Tag is not currently supported.
Notes: DFW max rules per Physical Server: 10k

## Slide 7
1 | Topologies with Physical Servers
2 | NSX Services Supported with Physical Servers
3 | More information Preparation Installation Advanced + Troubleshooting

## Slide 8: More Information
NSX-T Physical Server 101 ToI